Department of Technical Education

State Board of Technical Education &Training (TS)

| Course Title | Water Supply and Sanitary Engineering | Course Code | CE-403 |
| --- | --- | --- | --- |
| Semester | IV | Course Group | Core |
| Teaching Scheme in Periods(L:T:P) | 4:1:0 | Credits | 3 |
| Methodology | Lecture +Tutorials | Total Contact Periods | 75 |
| CIE | 60 Marks | SEE | 40 Marks |

Pre requisites

Course Outcomes

This subject requires the basic knowledge of the coursesEngineering Chemistry and Environmental Studies is needed.

| Unit No | Unit Name | Periods | Questions to be set for SEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | R |  |  | U | A |
| 1 | Water Supply Scheme, Quantity of water. Sources and Conveyance of Water. | 10 | Q4 | Q1 |  | Q9(a) | Q13(a) |
| 2 | Quality and Purification of Water | 15 |  |  |  |  |  |
| 3 | Distribution System and Water supply arrangements in buildings | 15 |  | Q2 |  | Q10(a) | Q14(a) |
| 4 | Introduction to Wastewater Engineering and Quantity of Sewage | 10 |  |  |  |  |  |
| 5 | Sewersand Sewer appurtenances | 10 |  | Q3 | Q5,Q6 | Q9(b), Q11(a), Q11(b) | Q13(b), Q15(a), Q15(b) |
| 6 | Sewage Characteristics, and treatment | 15 |  |  | Q7,Q8 | Q10(b), Q12(a), Q12(b) | Q14(b), Q16(a), Q16(b) |
| Total |  | 75 | 8 |  |  | 8 | 8 |

Upon completion of the course, the student shall be able to

| CO1 | Estimate water requirement for public water supply scheme and Illustrate the different sources and various methods of conveyance of water |
| --- | --- |
| CO2 | Ascertain the quality of water and study the various stages of purification of water to select the appropriate treatment method. |
| CO3 | Identify the suitable distribution system for a locality and their related appurtenances and plan the arrangement of water supply in a building. |
| CO4 | Categorize the types of sewage, sewerage system, surface drain and estimate the quantity of sewage. |
| CO5 | Summarize the cross section of sewers and sewer appurtenances |
| CO6 | Categorize the sewage characteristics, methods involved in sewage treatment |

Course Contents

UNIT - 1: Water Supply Scheme, Quantity of Water,Sources andConveyance of Water							Duration: 10Periods(L: 8 – T:2)

- Need for protected water supply – objectives ofa protected water supply scheme – Flow chart of a typical water supply scheme.

- Total quantity of water for a town, per capita demand, and factors affecting demand –Variation in demand– seasonal, daily, and hourly variation.

- Forecasting population by arithmetical, geometrical, and incremental increase methods – Problems on above methods.

- Surface sources – Lakes, streams, rivers, and impounded reservoirs.

- Underground sources – springs, wells, infiltration wells, and galleries.

- Types of intakes – Reservoir, River, Canal, and Lake Intakes

UNIT - 2: Quality and Purification of Water

Duration: 15Periods(L: 12 – T:3)

  - Impurities of water – Need for laboratory tests – sampling.

  - Tests on water – physical, chemical, and bacteriological tests.

  - Flow diagram of different treatment units.

  - Objectives – aeration, sedimentation, filtration and disinfection

  - Process of sedimentation with coagulation.

  - Filtration – Construction and operation of rapid sand and pressure filters.

  - Disinfection of water Methods – necessity and methods of chlorination – pre, post, super, double, and break point chlorination.

NOTE: No design of treatmentunits

UNIT - 3: Distribution system and water supply arrangements in Building

Duration: 15 Periods(L: 12 – T: 3)

  - Requirements of Distribution system –Systems of distribution – gravity system, combined system, direct pumping.

  - Methods of supply - Intermittent and continuous.

  - Types of layouts– grid, radial and ring system, their merits &demerits and their suitability.

  - Location and functioning of:

- Sluice valves.

- Check valves or reflux valves.

- Air valves.

- Drain valves or blow-off valves.

- Scour valves.

- Fire Hydrants

- Water meters

- Definition of terms: water main, service pipe, communication pipe, supply pipe, distribution pipe, back flow, and air gap.

- General layout of water supply arrangement for single storied building as per I.S Code of practice.

UNIT - 4: Introduction to Wastewater Engineering and Quantity of Sewage

Duration: 10Periods(L: 8 – T: 2)

  - Define the terms: Sullage, sewage, sewer, sewerage, refuse, garbage, Strength of sewage

  - Objectives of providing sewerage works.

  - System of sewage collection and disposal –water carriage systems.

  - Types of sewerage systems and their suitability – separate, combined and partially separate systems.

  - Surface drains– requirements, shapes and their merits, demerits &construction.

  - Simple problems on design of sewers (running half full only), using   Manning’s and Hazen Williams formulae.

UNIT -5: Sewers and Sewer Appurtenances

Duration: 10Periods(L: 8 – T: 2)

  - Different shapes of cross section for sewers – circular and non-circular – figures, merits and demerits.

  - List Types of sewers based on material – stoneware, cast iron, cementconcrete sewers and A.C Pipes

  - Brief description, location, function and construction of

- Manholes

- Drop manhole

- Street inlets

- Catch basins

UNIT -6: Sewage Characteristics and treatment

Duration: 15 Periods(L: 12 – T: 3)

  - Strength of sewage, sampling of sewage, characteristics of sewage – physical, chemical, and biological.

  - Analysis of sewage – significance of the following tests for (No test details)

    - Solids	(ii) C.O.D	(iii)	 B.O.D

(iv) PH Value	v) Chlorides

  - Preliminary treatment - Functions of following units.

- Screens		 (ii) Skimming tanks	(iii) Grit chambers

  - Primary treatment - Brief description of Plain sedimentation

  - Secondary treatment - Brief description of

- Trickling filters	ii) Activated sludge process

NOTE: No design of treatment units

Reference Books

- Environmental Engineering 			– G.S. Birdie

- Elements of Public Health engineering   	– K.N. Duggal

- Environmental Engineering			– Baljeet Kapoor

- Public Health Engineering 			– S.K. Hussain

- Water supply and sanitary Engineering  	– V.N. Vazirani.

- Environmental Engineering                       	– N.N. Basak /TMH

- Water Supply Engineering			– S.K. Garg

- Environmental Engineering 			– N. Srinivasulu

- Environmental Engineering 			– S.R. Laxmi Prasad

Suggested E-learning references

1. http://nptel.ac.in

Suggested Learning Outcomes

Upon completion of the course, the student shall be able to

CO1 - Estimate water requirement for public water supply scheme and Illustrate the different sources and various methods of conveyance of water

  - State the need of protected water supply.

  - List the objectives of a protected water supply scheme.

  - Draw the flow chart of a typical water supply scheme of a town.

  - List the factors affecting per capita demand of a town / city.

  - Explain the variation in demand for water supply.

  - Estimate the quantity of water required by a town.

  - State the necessity of forecasting population in the design of water supply scheme.

  - State different methods of forecasting population

  - Work out simple problems on forecasting population by different methods

  - State different types of surface and subsurface sources of water.

  - Explain with sketches:

    - Infiltration galleries.

    - Infiltration wells.

  - Describe with sketches the intakes for collection of water(reservoir, river, canal and lake intakes.

CO2 - Ascertain the quality of water and study the various stages of purification of water to select the appropriate treatment method.

  - State the different types of impurities present in water.

  - State the need for laboratory tests for testing water.

  - Explain the method of obtaining samples for testing.

  - List the different tests for analysing quality of water.

  - Define: E-coli index, most probable number (MPN).

  - State the various water borne diseases in India.

  - State the objectives of treatment of water.

  - Sketch the overall layout of a water treatment plant indicating the different stages.

  - State the objects of aeration, plain sedimentation, sedimentation with coagulation, filtration, and disinfection.

  - Explain the process of sedimentation with coagulation.

  - Describe the construction and operation of rapid sand and pressure filters.

  - List various methods of disinfection of water.

  - Explain the different forms of Chlorination (Pre, post, super, double and break-point chlorination).

*NOTE: No design of treatment units

CO3 - Identify the suitable distribution system for a locality and their related appurtenances and plan the arrangement of water supply in a building.

  - State the requirements of good distribution system.

  - Explain with sketches the different systems of distribution.

  - Explain different methods of water supply system with their merits and demerits.

  - Explain with sketches the different layouts (Grid, radial and ring) in distribution system.

  - List the merits and demerits of layouts (Grid, radial and ring) with their suitability for a given locality.

  - List various appurtenances used in a distribution system of water supply system to a town.

  - Explain with sketches the location and functioning of various appurtenances used in a distribution system of water supply.

  - Define terminology used while designing and construction of water supply arrangements in buildings.

  - Explain the general layout of water supply connections of buildings with mains

  - Layout of water supply arrangement for single storied buildings as per I.S Code.

CO4 - Categorize the types of sewage, sewerage system, surface drain and estimate the quantity of sewage.

  - Define the terms: Sullage, sewage, sewer, sewerage, refuse, garbage.

  - List the objectives of sewerage works.

  - State the various methods of sewage collection works and explain about water carriage system

  - Explain different sewerage systems and their suitability.

  - Compare the three systems of sewerage.

  - List the requirements of good surface drains.

  - Describe different types of surface drains with their merits and demerits.

  - Work out simple problems on design of sewers running half full only.

CO5 - Summarize the cross section of sewers and sewer appurtenances

  - State the various shapes of sewers.

  - List the circular and noncircular sewers with sketches.

  - List any two merits and demerits of each shape.

  - Mention the different materials used for sewers.

  - List the various sewer appurtenances on a sewer line.

  - Explain the construction, function, and location of the different sewer appurtenances.

CO6 - Categorize the sewage characteristics, methods involved in sewage treatment

  - Define strength of sewage.

  - Describe the method of sampling sewage.

  - State the physical, chemical, and biological characteristics of sewage.

  - Define C.O.D and B.O.D.

  - State the significance of the following tests to Analyse sewage.

i) Solids	ii) C.O.D. iii) B.O.D. iv) PH -Value	v) Chlorides.

  - State the objects of sewage treatment.

  - Draw the conventional sewage treatment plant of a town and indicate the main function of each unit.

  - State the function of screens, skimming tanks and grit chambers.

  - Explain briefly the working of screens, grit chambers, skimming tanks.

  - Describe with sketch the following treatment works.

- Trickling filters.

- Activated sludge process.

Suggested Student Activities

- Estimate the total quantity of water required for a town/locality/Institute.

- Visit nearby Intake works of water of your place and collect details.

- Prepare charts for BIS and WHO quality standards for drinking water.

- Visit nearbyWater Treatment Plant and collect details of unit operations and processesinvolved in it.

- Study the distribution system of water supply of your locality.

- To visit a newly constructed building for plumbing works.

- Estimate total quantities of sewage generated from a locality and design the sewagedischarge. Prepare a report on effects due to untreated disposal of municipal sewage

- Prepare a report on performance of the existing sewage treatment plant at any hospital

- Visit Sewage Treatment Plant and collect details each unit operations for treatment of

Sewage and prepare the charts.

- Prepare a mini project report for Sewerage System for a locality.

- To conduct market survey of sanitary ware.

- Treatment and reuse of automobile service station wastewater for vegetation

- Impact of industrial solid wastes on soil and sub-surface water

- Effects due to untreated disposal of municipal sewage

- Quality study of sewage in your district

- Soil-industrial effluent interaction and their engineering behaviour

- Tech fest/Srujana

- Paper/Poster presentation

- Quiz

- Group discussion

- Surprise Test

CO-PO Mapping Matrix

|  | Basic and Discipline Specific Knowledge | Problem Analysis | Design/Development of Solutions | Engineering Tools, Experimentation and Testing | Engineering Practices for Society, Sustainability and Environment | Project Management | Lifelong Learning | Linked PO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO 7 |  |
| CO1 | 1 | - | - | 1 | 1 | - | 1 | 1,4,5,7 |
| CO2 | 1 | 2 | 1 | 2 | 2 | - | 1 | 1,2,3,4,5,7 |
| CO3 | 2 | 1 | 2 | 3 | 3 | 1 | 2 | 1,2,3,4,5,6,7 |
| CO4 | 1 | 1 | 1 | 3 | 3 | - | 1 | 1,2,3,4,5,7 |
| CO5 | 1 | 1 | 2 | 3 | 3 | - | 1 | 1,2,3,4,5,7 |
| CO6 | 1 | 1 | 2 | 3 | 3 | - | 1 | 1,2,3,4,5,7 |

QUESTION PAPER PATTERN FOR MID SEMESTER EXAMS

| Sl.No | Description | Level | No of Questions | Marks for each question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Part-A | Remembering(R) | 4 | 1 | Nil | 4 Marks |
| 02 | Part-B | Understanding(U) | 4 | 3 | 2 | 6 Marks |
| 03 | Part-C | Application(A) | 4 | 5 | 2 | 10 Marks |
| Total Marks |  |  |  |  |  | 20 Marks |

MID SEM-I EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-I | 1,2 | 5(a) | 7(a) |  |
|  |  |  | 5(b) | 7(b) |  |
| 2 | Unit-II | 3,4 | 6(a) | 8(a) |  |
|  |  |  | 6(b) | 8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

MID SEM-II EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-III | 1,2 | 5(a) | 7(a) |  |
|  |  |  | 5(b) | 7(b) |  |
| 2 | Unit-IV | 3,4 | 6(a) | 8(a) |  |
|  |  |  | 6(b) | 8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

The length of answer for each question framed in respect of Part-A, B&C shall not exceed ¼ of a page,1 page and 2 pages respectively

QUESTION PAPER PATTERN FOR  SEMESTER  END EXAM

| Sl.No | Description | Level | No of Questions | Marks for each question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Part-A | Remembering(R) | 8 | 1 | Nil | 8 Marks |
| 02 | Part-B | Understanding(U) | 8 | 3 | 4 | 12 Marks |
| 03 | Part-C | Application(A) | 8 | 5 | 4 | 20 Marks |
| Total Marks |  |  |  |  |  | 40 Marks |

| Unit No | Questions to be set for SEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | R |  |  | U | A |
| I | Q4 | Q1 |  | Q9(a) | Q13(a) |
| II |  |  |  |  |  |
| III |  | Q2 |  | Q10(a) | Q14(a) |
| IV |  |  |  |  |  |
| V |  | Q3 | Q5,Q6 | Q9(b), Q11(a), Q11(b) | Q13(b), Q15a), Q15(b) |
| VI |  |  | Q7,Q8 | Q10(b), Q12(a), Q12(b) | Q14(b), Q16(a), Q16(b) |
| Total Questions | 8 |  |  | 8 | 8 |

| Unit No | Unit Name | Periods | Questions to be set for SEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | R |  |  | U | A |
| 1 | Water Supply Scheme, Quantity of water. Sources and Conveyance of Water. | 10 | Q4 | Q1 |  | Q9(a) | Q13(a) |
| 2 | Quality and Purification of Water | 15 |  |  |  |  |  |
| 3 | Distribution System and Water supply arrangements in buildings | 15 |  | Q2 |  | Q10(a) | Q14(a) |
| 4 | Introduction to Wastewater Engineering and Quantity of Sewage | 10 |  |  |  |  |  |
| 5 | Sewersand Sewer appurtenances | 10 |  | Q3 | Q5,Q6 | Q9(b), Q11(a), Q11(b) | Q13(b), Q15(a), Q15(b) |
| 6 | Sewage Characteristics, and treatment | 15 |  |  | Q7,Q8 | Q10(b), Q12(a), Q12(b) | Q14(b), Q16(a), Q16(b) |
| Total |  | 75 | 8 |  |  | 8 | 8 |

State Board of Technical Education and Training,Telangana

Model Question paper

DCE IV semester

Mid Semester-I Examination

Course Code:CE-403						        Duration:1  hour

Course Name: Water supply and Sanitary Engineering		Max.Marks:20 Marks

___________________________________________________________________________

PART-A

Answer ALL questions and each question carries one Mark                        4 x 1 = 4 Marks

1. State any two needs of protected water supply

2. List out the variations in demand for water supply

3. Write any two objectives of treatment of water

4. Define aeration

PART-B

Answer Two questions and each question carries Three Marks                 2 x 3 = 6 Marks

5(a). State different types of surface and sub-surface sources of water.

(OR)

5(b). Draw a flow chart of typical water supply scheme of a town

6(a). What is the process sedimentation with coagulation? Give two examples of coagulants used.

(OR)

6 (b). State the objective of filtration and disinfection in water treatment

PART-C

Answer Twoquestions and each question carries five Marks                 	2 x 5 = 10 Marks

7(a). Explain with a neat sketch canal intake.

(OR)

7(b).Estimate the population for the year 2021 from the following census data of a town by arithmetic methods.

| year | 1981 | 1991 | 2001 | 2011 |
| --- | --- | --- | --- | --- |
| population | 86400 | 98800 | 115700 | 130500 |

8(a).  Draw layout of water treatment plant indicating the different stages.

(OR)

8(b). Write about Pre, Post  and Super Chlorination.

State Board of Technical Education and Training,Telangana

Model Question paper

DCE IV semester

Mid Semester-II Examination

Corse Code:CE-403 					                   Duration:1  hour

Course Name: Water supply and Sanitary Engineering		Max.Marks:20

___________________________________________________________________________

PART-A

Answer ALL questions and each question carries one Mark                            4 x 1 = 4 Marks

1. List any four appurtenances used in water supply distribution system

2. State the function of water main while making water supply arrangements in buildings

3.Mention any two shapes of surface drains.

4. Name the methods of sewage collection and disposal

PART-B

Answer two questions and each question carries three Marks               	2 x 3 = 6 Marks

5(a). State any four requirements of good distribution system.

(OR)

5(b).Write two merits and two demerits of radial layout of distribution system

6(a). Write four requirements of good surface drains.

(OR)

6(b).Define i) Sewage   ii) Sewer  iii) Garbage

PART-C

Answer two questions and each question carries five Marks                 	2 x 5 = 10 Marks

7(a). Sketch reflux valve and state the function of it.

(OR)

7(b).Draw a layout of water supply arrangements for single storeybuilding

8(a).Find the velocity flow in a sewer, which runs half full. Assume the value of coefficient of Rugosity as 0.013 and bed slope of 1 in 100

(OR)

8(b). Write about partially separate sewerage system.

State Board of Technical Education and Training,Telangana

Model Question paper

DCE IV semester

Semester End Examination

Corse Code:CE-403				                                 Duration:2 hours

Course Name: Water supply and Sanitary Engineering		Max.Marks:40

PART-A

Answer all questions, Each Question carries one mark			8x1 = 8 Marks

- State any two objectives of protected water supply scheme

- Define Communication pipe

- What is strength of sewage

- List any two methods of disinfection of water

- Mention any two shapes of non-circular sewers

- State the function of catch basins

- What do you mean by COD in sewage analysis

- List any two chemical characteristics of sewage

PART-B

Answer four questions and each question carries three Marks             	4 x 3 = 12 Marks

9(a) What is disinfection of water and state its necessity in water treatment.

(OR)

9(b)State the different types of materials used for sewers

10(a)Write Manning’s formula for velocity and significance of terms used in it

(OR)

10(b)Brief the significance of PH value in sewage analysis

11(a) What is the function of sewer appurtenances

i) Regulator	ii) Flushing tank

(OR)

11(b) State the conditions where Circular sewer and Double egg sewer are commonly used

12(a) Write about BOD and its significance in sewage treatment

(OR)

12(b) What is activated sludge process.

PART C

Answer four questions and each question carries five Marks               4 x 5 = 20 Marks

13 (a) Explain the working of rapid sand filter

(OR)

13 (b) Sketch a drop manhole and label the parts

14(a) Distinguish between intermittent and continuous water supply

(OR)

14(b) Write briefly about working and use of trickling filters

15(a) Explain the construction of ordinary manhole

(OR)

15 (b) Write any two merits and demerits of any two sewers based on shape

16(a) Write a brief description of plain sedimentation

(OR)

16(b)Brief about any two physical and chemical characteristics of sewage. Also mention the related tests.

************