State Board of Technical Education &Training (TS)

Department of Technical Education

| CourseTitle: | Prestressing, Precast and PEB Structures |  | Course | Code | : | CE-503 |
| --- | --- | --- | --- | --- | --- | --- |
| Semester: |  | VSemester | Course | Group | : | Core |
| TeachingSchemeinPeriods (L:T:P): |  | 60:15:0 | Credits |  | : | 3 |
| Methodology | : | Lecture+Assignments | TotalContactPeriods: |  |  | 75 Periods |
| CIE | : | 60 Marks | SEE |  | : | 40 Marks |

| CO Code | Course Outcomes |
| --- | --- |
| CO1 | Explain the need, advantages, limitations, and applications of prestressed, precast, and pre-engineered building systems. |
| CO2 | Describe the concept of prestressing, materials used, anchorage systems, and losses in prestress. |
| CO3 | Differentiate between RCC and prestressed concrete members and explain methods of prestressing and their applications. |
| CO4 | Identify precast concrete elements and explain production, transportation, erection, and connection methods. |
| CO5 | Explain the components, framing systems, and applications of pre-engineered buildings. |
| CO6 | Apply basic construction practices, quality control measures, and safety precautions in prestressed, precast, and PEB structures. |

UNIT I – Introduction to Modern Structural Systems

- Need for modern construction techniques

- Limitations of conventional RCC construction

- Introduction to prestressed, precast and pre-engineered buildings (PEB)

- Advantages and limitations of prestressed, precast and PEB systems

- Applications in buildings, bridges and industrial structures

UNIT II – Materials and Components in Prestressed Concrete

- Concept of prestressing

- Types of prestressing: pre-tensioning and post-tensioning

- Materials used in prestressing:

  - High-strength concrete

  - Prestressing steel (wires, strands, cables)

- Anchorage systems (basic idea)

- Losses in prestress (concept only)

UNIT III – Prestressed Concrete Members and Construction Methods

- Prestressed concrete beams, slabs and girders

- Methods of prestressing:

  - Pre-tensioning method

  - Post-tensioning method

- Basic comparison between RCC and PSC members

- Applications of prestressed concrete in buildings and bridges

- Introduction to precast prestressed elements

UNIT IV – Precast Concrete Structures

- Concept and advantages of precast construction

- Types of precast elements:

  - Beams, columns, slabs, wall panels

  - Staircases and boundary walls

- Precast production methods

- Transportation, handling and erection of precast elements

- Connections in precast structures (basic concepts)

UNIT V – Pre-Engineered Buildings (PEB)

- Concept and components of PEB systems

- Primary and secondary framing systems

- Roofing and wall cladding systems

- PEB foundations (basic idea)

- Advantages of PEB over conventional steel structures

- Applications of PEB in industrial and commercial buildings

UNIT VI – Construction Practices, Quality Control and Safety

- Erection techniques for prestressed, precast and PEB structures

- Quality control in prestressed and precast construction

- Common defects and remedial measures

- Safety precautions during fabrication, lifting and erection

- Case studies of prestressed, precast and PEB projects

- Future trends in modern construction techniques

Practical / Field Exposure (Recommended)

- Site visit to precast yard or PEB construction site

- Identification of prestressing and anchorage components

- Study of precast elements and PEB components

- Simple case study or report

Course Outcomes (COs)

CO–PO Mapping Matrix

| CO \ PO | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | – | – | 2 | 1 | 1 |
| CO2 | 3 | 2 | – | 1 | 1 | – | – |
| CO3 | 3 | 3 | 2 | 1 | 1 | – | – |
| CO4 | 2 | 2 | 2 | 2 | 2 | 1 | – |
| CO5 | 2 | 2 | 2 | 2 | 2 | 1 | – |
| CO6 | 2 | 3 | 1 | 2 | 3 | 2 | 1 |