State Board of Technical Education &Training (TG)

| Course Title: | Electrical and Electronic Measuring Instruments | Course Code | EE-301 |
| --- | --- | --- | --- |
| Semester | III Semester | Course Group | Core |
| Teaching Scheme in Periods (L:T:P) | 60:15:0 | Credits | 3 |
| Methodology | Lecture + Tutorials | Total Contact Periods | 75 |
| CIE | 60 Marks | SEE | 40 Marks |

Department of Technical Education

C-26

Pre requisites

This course requires the knowledge of basic electrical quantities, its units and basic   mechanical   quantities.

Course Outcomes

Upon completion of the course, the student shall be able to

| CO 1 | Define the terms of measuring instruments and classify the types. |
| --- | --- |
| CO 2 | Apply the MC, MI and Dynamometer measuring instruments. |
| CO 3 | Measure the Electrical power and energy |
| CO 4 | Measure Resistance, Inductance and Capacitance. |
| CO 5 | Analyze the basic principles of transducers and sensors |
| CO 6 | Compare Electronic and Digital instruments |

Blue Print of Marks for SEE

| Unit No | Unit Name | Periods | Questions to be set for SEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | R |  |  | U | A |
| 1 | Basics of Measuring | 10 |  |  |  |  |  |
|  | Instruments |  |  | 1 |  | 9(a) | 13(a) |
| 2 | Voltage and Current | 15 |  |  |  |  |  |
|  | Measuring Instruments |  |  |  |  |  |  |
| 3 | Power and Energy Measuring | 15 |  |  |  |  |  |
|  | Instruments |  | 4 | 2 |  | 10(a) | 14(a) |
| 4 | Measurement of Basic | 10 |  |  |  |  |  |
|  | Circuit Elements |  |  |  |  |  |  |
| 5 | Transducers and Sensors | 12 |  |  | 5,6 | 9(b), | 13(b), |
|  |  |  |  | 3 |  | 11(a), 11(b) | 15(a), 15(b) |
| 6 | Analog and Digital Electronic | 13 |  |  | 7,8 | 10(b), | 14(b), |
|  | Instruments |  |  |  |  | 12(a), 12(b) | 16(a), 16(b) |
| Total |  | 75 | 8 |  |  | 8 | 8 |

Course Contents

UNIT 1 - Basics of Measuring Instruments

## Duration: 10 Periods (L: 8- T: 2)

Definitions of accuracy, precision, error, resolution and sensitivity - Electrical quantities and units - Measuring instruments used - Classification of instruments - Types of torques (deflection, controlling and damping torques) in indicating instruments- Types of errors.

## UNIT 2 – Voltage and Current Measuring Instruments

Duration: 15 Periods (L: 12 – T:3)

M.C. and M.I ammeters and voltmeters-  construction and working – errors – remedies – comparison-  Concept of shunts and multipliers for M.C instruments - Dynamometer type ammeter, voltmeter and wattmeter– construction, working, and errors.

## UNIT 3 – Power and Energy Measuring Instruments

Duration: 15 Periods (L: 12 – T:3)

Need for instrument transformers - measurement of power - single phase induction type energy meter - construction and working, error and adjustments – connections of a three phase energy meter - construction and working of Weston synchroscope.

## UNIT 4 – Measurement of Basic Circuit Elements

Duration: 10Periods (L:8– T:2) Classification of resistance- methods of resistance measurement - basic Ohmmeter circuit - series and shunt ohmmeters - construction and working of megger– measurement of  earth resistance using  Megger –  Potentiometer - construction, working principle and applications  - measurement of inductance – measurement of capacitance.

## UNIT 5 – Transducers and Sensors

Duration: 12 Periods (L:9 – T:3)  Definition of transducer -classification of transducers - factors influencing selection of transducer -  applications of transducers -  thermocouple – thermister- strain gauge -  LVDT - basic concept of sensors and its applications – Principle of semiconductor sensors.

## UNIT 6 – Analog and Digital Electronic Instruments

Duration:13 Periods (L:10 – T:3)

Basic components of analog electronic instruments -  Principle of working of rectifier type voltmeter and ammeter - basic components of digital electronic instruments - advantages of digital instruments over analog instruments-  types of digital voltmeters - specifications of digital voltmeter - working of digital multimeter and its specifications -  working of single phase digital energy meter with block diagram -  use of tong tester -  comparison between digital and electromechanical measuring instruments.

Reference Books

- A.K.Sawhney   Electrical and Electronic measuring instruments –Dhanpat Rai & Sons.

- E.W.Golding and F.C.Widdis – Electrical Measurements and measuring instruments– Wheeler publishers.

- David A Bell, Electronic Instrumentation and Measurements–Oxford.

- B.L.Theraja, Electrical Technology -S.Chand& Co.

- Khandpur, Modern Electronic Equipment

- J.B.Gupta, Electrical and Electronic measuring instruments.

- Harris, Electrical measurements

- K.B.Bhatia, Study of Electrical Appliances and Devices– Khanna Publishers

Suggested E-learning references

  - http://electrical4u.com/

  - www.nptel.ac.in

  - https://ocw.mit.edu/courses/electrical-engineering-and-computer-science/

  - https://nptel.ac.in/courses/108105053/

Suggested Learning Outcomes

Upon the completion of the course, the student shall be able to

CO1:  Define the terms of measuring instruments and classify the types.

1.1    Define the terms accuracy, precision, error, resolution and sensitivity.

  - List electrical quantities to be measured their units.

  - List electrical measuring instruments to measure electrical quantities.

  - Classify the instruments on the basis of construction and output as analog and digital instruments.

  - Classify the electro mechanical instruments according to principle of working.

  - Classify the instruments on basis of method of measuring the value as absolute and secondary instruments.

  - Distinguish between absolute and secondary instruments.

  - List the types of secondary instruments (indicating, integrating and recording) with examples.

  - Explain the purpose of obtaining deflecting torque in indicating instruments.

  - Illustrate   the purpose of obtaining controlling torque in indicating instruments.

  - Explain   the purpose of obtaining damping torque in indicating instruments.

  - List the methods of obtaining deflecting torque in indicating instruments.

  - Explain the methods of obtaining deflecting torque in indicating instruments.

  - List the methods of obtaining controlling torque in indicating instruments.

  - Elaborate the methods of obtaining controlling torque in indicating instruments.

  - List the methods of obtaining      damping torque in indicating instruments.

  - Illustrate the methods of obtaining      damping torque in indicating instruments.

  - Classify the errors according to its source (gross, systematic and random).

CO2: Apply the MC, MI and Dynamometer measuring instruments.

  - Explain the working of permanent magnet moving coil instrument (voltmeter/ammeter).

  - List the types of errors commonly occurring in moving coil (M.C.) instruments.

  - Illustrate the remedies for the commonly occurring errors in M.C instruments.

  - Outline the advantages and disadvantages of M.C instruments.

  - List the applications of M.C instruments.

  - Illustrate the working of moving iron (M.I) Attraction type Instrument with a legible sketch.

  - Explain the construction and working of moving iron (M.I) Repulsion type Instrument with a legible sketch.

  - List the errors commonly occurring in M.I. Instruments.

  - Outline the advantages and disadvantages of M.I. instruments.

  - Compare M.C. and M.I instruments.

  - Extend the range of moving coil ammeter using Shunt with a legible sketch.

  - Solve simple problems on extension of the range of MC ammeter using the shunt.

  - Extend the range of moving coil voltmeter using multiplier with a legible sketch.

  - Solve simple problems on extension of the range of MC voltmeter using multiplier.

  - Explain the construction of dynamometer type instruments with a neat diagram.

  - Illustrate the working of dynamometer type instruments.

  - List the common errors in the dynamometer instruments.

  - List the advantages of dynamometer instruments.

  - List the disadvantages of dynamometer instruments

CO3: Measure the Electrical power and energy

    - Discuss the need for instrument transformers (current transformer and potential transformer).

    - List the applications of instrument transformers

    - State the precaution to be taken before using current transformer.

    - Develop the circuit diagram for measuring power with wattmeter in single phase circuit in with instrument transformers.

    - Develop the circuit diagram for measuring power and power and power factor in 3 phase circuit using one wattmeter.

    - Develop the circuit diagram for measuring power and power and power factor in 3 phase circuit using two wattmeters.

    - Develop the circuit diagram for measuring power and power and power factor in 3 phase circuit using three wattmeters.

    - Explain the construction and working of a single phase induction type energy meter.

    - Define meter constant.

    - List the common errors and their remedies in single phase energy meter.

    - Outline the connections of a three phase energy meter.

    - Explain the construction and working of Weston synchroscope.

CO 4: Measure Resistance, Inductance and Capacitance.

- Classify the resistances based on its value.

- List the methods of measurements of low resistances.

- List the methods of measurements of medium resistances.

- List the methods of measurements of high resistances.

- Show the circuit diagram of basic ohm meter.

- Explain the working of basic ohmmeter.

- Draw the circuit diagram of series type ohmmeter.

- Develop the circuit diagram of shunt type ohmmeter.

- Explain the construction and working of Megger.

- Illustrate the method of measurement of earth resistance using earth megger with a legible sketch.

- Describe the construction of basic potentiometer with a legible sketch.

- Explain the working of basic potentiometer with a legible sketch.

- Explain the measurement of unknown resistance using potentiometer.

- List the applications of potentiometer.

- List various bridges used to measure inductance.

- List various bridges used to measure capacitance.

CO5: Analyze the basic principles of transducers and sensors.

  - Define transducer.

  - State the need of transducers in measurement systems.

  - Classify Transducers.

  - List the applications of transducers.

  - Utilize Thermocouple for the measurement of temperature.

  - Make use of thermister for the measurement of temperature and in a bridge circuit.

  - Explain the working principle of strain gauge.

  - Describe the construction of Linear Variable Differential Transformer (LVDT).

  - Elaborate the working of LVDT.

  - Explain the concept of sensor.

  - List the applications of sensors.

  - List semiconductor sensors.

CO6: Compare Electronic and Digital instruments.

  - List the basic components of analog electronic instruments.

  - List various analog electronic instruments.

  - Discuss the working principle of rectifier type voltmeter with a neat diagram.

  - Discuss the working principle of rectifier type ammeter with a legible sketch.

  - List the basic components of digital electronic instruments.

  - Compare digital instruments and analog instruments.

  - List the types of digital voltmeters.

  - Mention the specifications of digital voltmeter.

  - Explain the working of digital multimeter with block diagram by giving its specifications.

  - Explain the working of single phase digital energy meter with block diagram.

  - State the uses of tong tester (clamp meter).

Suggested Student Activities

- Prepare a report on the methods adopted for calibration of digital energy meters in TSSPDCL/TSNPDCL.

- Prepare a report on various meters used in nearby industries or substations.

- Visit any nearby factory / industry and prepare a report on applications of various transducers in that industry clearly mentioning the purpose.

- Using megger, determine the earth resistance of the earth pit at your college and prescribe suitable measures to maintain the earth resistance at optimum value

- Prepare posters indicating usage of suitable meters/ instruments with circuits to measure current, voltage, power and energy in DC and AC (Single phase) circuits

- Mini project on measurement methods of Resistance, Inductance and Capacitance

- Student visits lab to identify the available electrical measuring instruments

- Visit MRT division Electricity Department to understand the testing and repair of various measuring instruments. Write a report on observations.

- Visit any Electrical / Electronic Measuring Instrument manufacturing industry to observe and understand the construction and working of various meters. Write a Report on observation.

- Quiz

- Group discussion

- Surprise test

- Assignment

- Seminar

CO-PO Mapping Matrix

|  | Basic and Discipline Specific knowledge | Problem Analysis | Design/Development of Solutions | Engineering Tools, Experimentation & Testing | Engineering practices for society, sustainability and environment | Project Management | Lifelong learning | Linked PO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO\PO | PO 1 | PO 2 | PO 3 | PO 4 | PO 5 | PO6 | PO7 |  |
| CO1 | 3 | - | - | 1 | - | - | - | 1,4 |
| CO2 | 3 | 2 | - | 2 | - | - | - | 1,2,4 |
| CO3 | 3 | 1 | - | 2 | - | - | - | 1,2,4 |
| CO4 | 3 | 1 | - | 1 | - | - | - | 1,2,4 |
| CO5 | 3 | 1 |  | 1 | - | - | 1 | 1,2,4,7 |
| CO6 | 3 | - |  | 1 | - | - | - | 1,4 |

Internal Evaluation

| Test | Units | Marks |
| --- | --- | --- |
| Mid Sem 1 | 1 and 2 | 20 |
| Mid Sem 2 | 3 and 4 | 20 |
| Slip Test 1 | 1 and 2 | 5 |
| Slip Test 2 | 3 and 4 | 5 |
| Assignments | - | 5 |
| Seminars | - | 5 |
|  | Total | 60 |

QUESTION PAPER PATTERN FOR MID SEMESTER EXAMS

| Sl.No | Description | Level | No of Questions | Marks for each question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Part-A | Remembering(R) | 4 | 1 | Nil | 4 Marks |
| 02 | Part-B | Understanding(U) | 4 | 3 | 2 | 6 Marks |
| 03 | Part-C | Application(A) | 4 | 5 | 2 | 10 Marks |
| Total Marks |  |  |  |  |  | 20 Marks |

MID SEM-I EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-I | 1,2 | 5(a) | 7(a) |  |
|  |  |  | 5(b) | 7(b) |  |
| 2 | Unit-II | 3,4 | 6(a) | 8(a) |  |
|  |  |  | 6(b) | 8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

MID SEM-II EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-III | 1,2 | 5(a) | 7(a) |  |
|  |  |  | 5(b) | 7(b) |  |
| 2 | Unit-IV | 3,4 | 6(a) | 8(a) |  |
|  |  |  | 6(b) | 8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

The length of answer for each question framed in respect of Part-A, B&C shall not exceed ¼ of a page,1 page and 2 pages respectively

QUESTION PAPER PATTERN FOR  SEMESTER END EXAM

| Sl.No | Description | Level | No of Questions | Marks for each question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Part-A | Remembering(R) | 8 | 1 | Nil | 8 Marks |
| 02 | Part-B | Understanding(U) | 8 | 3 | 4 | 12 Marks |
| 03 | Part-C | Application(A) | 8 | 5 | 4 | 20 Marks |
| Total Marks |  |  |  |  |  | 40 Marks |

| Unit No | Questions to be set for SEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | R |  |  | U | A |
| I | 4 | 1 |  | 9(a) | 13(a) |
| II |  |  |  |  |  |
| III |  | 2 |  | 10(a) | 14(a) |
| IV |  |  |  |  |  |
| V |  | 3 | 5,6 | 9(b), 11(a), 11(b) | 13(b), 15(a), 15(b) |
| VI |  |  | 7,8 | 10(b), 12(a), 12(b) | 14(b), 16(a), 16(b) |
| Total Questions | 8 |  |  | 8 | 8 |

## STATE BOARD OF TECHNICAL EDUCATION AND TRAINING,TELANGANA MODEL QUESTION PAPER

DEEE III SEMESTER MID SEMESTER-I EXAMINATION

## Corse Code: EE-301                                                                          Duration:1Hour

## Course Name: Electrical and Electronic Measuring Instruments Max.Marks:20

PART-A

Instructions: Answer all questions, Each Question carries one mark     4x1 = 4 Marks

- Define accuracy related to measuring instruments.

- List any four electrical quantities and their units.

- List any two types of errors in moving coil instruments.

- List any two advantages of dynamometer instruments.

PART-B

Answer two questions. Each question carries three marks	  2x 3 = 6 Marks

- a) Classify and define the errors according to its source.

## OR

b) Classify the Electromechanical instruments based on working principle.

- a) List the applications of moving coil instruments.

## OR

b) Compare moving coil and moving iron instruments in any three aspects.

PART-C

Instructions: Answer two questions. Each question carries five marks	2x 5 = 10 Marks

- a) What are the different torqueses in indicating instruments?  Explain the purpose of each.

## OR

b) Distinguish between absolute and secondary instruments.

- a) Explain the working of permanent magnet moving coil instrument.

## OR

b) Explain the method of extending the range of moving coil ammeter with the help of shunt..

## STATE BOARD OF TECHNICAL EDUCATION AND TRAINING,TELANGANA MODEL QUESTION PAPER

DEEE III SEMESTER MID SEMESTER-II EXAMINATION

## Corse Code:EE-301                                                                                          Duration:1Hour

## Course Name: Electrical and Electronic Measuring Instruments Max.Marks:20

PART-A

Instructions: Answer all questions, Each Question carries one mark	4x1 = 4 Marks

  - List the applications of current transformer

  - What is  the need for instrument transformers

  - List the applications of potentiometer

  - List any two bridges used to measure capacitance

PART-B

Instructions: Answer two questions. Each question carries three marks 2x 3 = 6 Marks

  - a) Mention the precaution to be taken before using CT.

## OR

- Classify the common errors in 1phase energy meter.

  - a) Draw the circuit diagram of basic ohmmeter.

## OR

- Write the various methods of measuring high resistance.

PART-C

Instructions: Answer two questions. Each question carries five marks	2x 5 = 10 Marks

  - a)  Explain how synchronization  of  alternator is done using  Weston synchroscope.

## OR

b)	Draw the circuit diagram for measuring power with wattmeter in single– phase  circuit in conjunction with instrument transformers.

  - a) Explain   the measurement of unknown resistance  with potentiometer with a legible sketch.

## OR

b) Distinguish between shunt and series ohmmeters in any five aspects.

## STATE BOARD OF TECHNICAL EDUCATION AND TRAINING, TELANGANA

MODEL QUESTION PAPER DEEE III SEMESTER SEMESTER END EXAMINATION

## Corse Code: EE-301	Duration:2 hours

Course Name: Electrical and Electronic Measuring Instruments Max.Marks:40Marks

PART-A

Answer all questions	8x1 =8 Marks

    - Define resolution of a measuring instrument.

    - State the need for instrument transformers.

    - Define transducer.

    - List various bridges used to measure inductance.

    - List the applications of sensors.

    - Classify transducers based on the principle of transduction.

    - State the uses of tong tester.

    - List the types of digital voltmeters.

PART-B

Answer four questions	4 x 3 = 12 Marks

    - a) Classify the types of secondary instruments.

## OR

b) List the applications of transducers.

10 a) List the precautions while using current transformer.

## OR

b) List the advantages of digital instruments over analog instruments.

- a)  State the disadvantages of Linear Variable Differential Transformer.

## OR

b) State the working principle of strain gauge.

- a) List the basic components of analog electronic instruments.

## OR

b) Mention the specifications of digital voltmeter.

PART-C

Answer four questions	4 x 5 = 20 Marks

- a) Describe the method of extending the range of moving coil volt meter with the help of multiplier.

## OR

b) Explain the application of thermocouple for the measurement of temperature.

- a) Explain the working of basic ohmmeter.

## OR

b) Explain the working of rectifier type voltmeter.

- a) Describe the working of Linear Variable Differential Transformer.

## OR

b) Explain the factors influencing the choice of transducer.

- a) Explain the working of digital multimeter with block diagram.

## OR

b) Explain the working of single phase digital energy meter with block diagram.