State Board of Technical Education &Training (TS)

| Course Title: | Electrical Power Systems-Generation | Course Code | EE-304 |
| --- | --- | --- | --- |
| Semester | III Semester | Course Group | Core |
| Teaching Scheme in Periods (L:T:P) | 60:15:0 | Credits | 3 |
| Methodology | Lecture + Tutorials | Total Contact Periods | 75 |
| CIE | 60 Marks | SEE | 40 Marks |

Pre requisites

This course requires the knowledge of

  - Basic principle and working of generators, transformers

  - Voltage and current calculations in the circuits using KCL, KVL

Course Outcomes

Upon completion of the course, the student shall be able to

| CO1 : | Classifyvarioussources of Energy. |
| --- | --- |
| CO2 : | Explain the construction and working of Thermal power station |
| CO3 : | Explain the construction and working of Hydroelectric power stations. |
| CO4 : | Explain the construction and working of Nuclear Powerstation. |
| CO5 : | Importance of Solar and wind power generation |
| CO6 : | Outline the need for integrated Operation and economics of Power Generation |

Blue Print of Marks for SEE

| Unit No | Unit Name | Periods | Questionsto beset forSEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | R |  |  | U | A |
| 1 | Introduction to different sources of Energy | 10 | Q4 | Q1 |  | Q9(a) | Q13(a) |
| 2 | Thermal Power Stations | 15 |  |  |  |  |  |
| 3 | Hydro Electric Power Stations | 13 |  | Q2 |  | Q10(a) | Q14(a) |
| 4 | Nuclear Power Stations | 12 |  |  |  |  |  |
| 5 | Solar and Wind Power Generation | 15 |  | Q3 | Q5,Q6 | Q9(b), Q11(a), Q11(b) | Q13(b), Q15(a), Q15(b) |
| 6 | Integrated Operation and Economics of Power Generation | 10 |  |  | Q7,Q8 | Q10(b), Q12(a), Q12(b) | Q14(b), Q16(a), Q16(b) |
| Total |  | 75 | 8 |  |  | 8 | 8 |

Course Contents

UNIT1 - Introductionto different sources of energy

Duration:10Periods(L:8– T:2)

Different sources of energy - Conventional and Non-conventional sources - Need for Non-Conventional Energy based power generation - Merits and Limitations of Conventional and Non-conventional sources - Methods of generation of energy from different sources of power such as Bio-mass, Geo-Thermal and Tidal - Need for energy conservation and their methods

UNIT2 - Thermal Power Station

Duration:15Periods(L:12– T:3)

Thermal Power Station - Principle of working - Factors for selection of site - Block diagram of condensing type thermal power station - Thermal power station - Components and principles of working - pulverization, Boilers - Working principle of boilers –Fire tube and water tube boilers, Steam turbine -Working principle of impulse and reaction steam turbines- Condensation, Cooling towers and their types –advantages & limitations -Thermal power stations in Telangana - Causes of pollution and methods to control them

UNIT3 - Hydro Electric Power stations

Duration:13Periods(L:11–T:2)

Hydro Electric Power Station –requirements for setting up of hydroelectric power stations –principle of working – Hydrograph, Hydraulic pumps – Classification –Construction and working of Reciprocating and Centrifugal pumps, Classification of hydraulic turbines-Construction and working of Pelton wheel, Francis and Kaplan turbines -Classification of hydroelectric power stations based on head, duty, location and hydraulic considerations - Working of High Head, Medium Head, Low Head Power Stations - need of surge tank, fore bay, spill gates –advantages & limitations - Hydro power stations in Telangana.

UNIT4 - Nuclear power stations

Duration:12Periods(L:10– T:2)

Nuclear energy, fission and fusion reactions –various nuclear fuels - Merits and limitationsof nuclear power stations- Working of nuclear power station with a block diagram -Moderator in nuclear reactors -  Need of coolant, reflector, control rods - Materials used for coolant, reflector, control rods – list the nuclear power stations in india.

UNIT5 - Solar and Wind Power Generation

Duration:15Periods(L:12– T:3)

Solar radiation - Principle of Conversion of solar radiation into heat - solar collectors - types - working principle of flat plate collector, concentrating collectors -methods of storing solar energy - Principle of photo voltaic conversion - Working principle of solar cell - VI-Characteristics of Solar cell -concept of solar panel - types - Power available in wind - Site selection for installing Wind mill-basic components, constructional details and working principle of wind mill

UNIT6 - Integrated Operation and Economics of Power Generation

Duration:10Periods(L:8– T:2)

Isolated operation and integrated operation of power stations - merits and limitations –cost of electrical energy – classify the cost as fixed and running - Load curve, load factor, diversity factor and maximum demand - Effects of load factor and diversity factor in power generation - Solve simple problems - Consumer tariffs –types - Effect of power factor on the electricity charges and methods to improve it

Reference Books

- S.L.Uppal-ElectricalPower

- Soni,Guptha,Bhatnagar – ElectricalPowerSystems-DhanpatRai& Sons

- A.T.Starr-Generation,TransmissionandUtilisation

- C.L.Wadhwa -Electrical PowerSystems – Newageinternational(P)limited

- NEDCAP-Non ConventionalEnergyGuideLines

- JBGuptha – Electricalpower plants

- G.D. RoyNonconventional energysources

- CLWadhwa-Electrical powerSystems – NewAgeInternational(P)limited.

- KRPadiyar-HVDCPowerTransmissionsystemTechnology

- S.N.Singh-ElectricalPower generation,transmissionanddistribution.

Suggested E-learning references

- http://electrical4u.com/

- www.nptel.ac.in

- https://ocw.mit.edu/courses/electrical-engineering-and-computer-science/

Suggested Learning Outcomes

Upon completion of the course, the student shall be able to

CO1 :Classify various sources of Energy

1.1   List different sources of energy

1.2  Classify the sources of energy into conventional and non-conventional.

1.3  State the necessity of developing non-conventional methods of power generation.

1.4State the relative merits of Conventional types of sources.

1.5State the limitations of Conventional types of sources.

1.6State the relative merits of Non-Conventional types of sources.

1.7State the limitations of Non-Conventional types of sources.

1.8    Explain the method of generating electrical energy fromBiomass Power

1.9   Explain the method of generating electrical energy fromGeo-thermal Power

1.10 Explain the method of generating electrical energy from Tidal Power

1.11  State the need of energy conservation

1.12  List different methods of energy conservation

CO2 : Explain the construction and working of thermal power station

2.1       State the principle of working of thermal power stations.

2.2	List the requirements for setting up of Thermal Power Station.

2.3	Draw the detailed line diagram of a condensing type thermal power station.

2.4	Explain the working of each component of thermal power station.

2.5	Define Pulverization, State the advantages of Pulverization.

2.6.1	Boilers - Working principle of boilers –Fire tube and water tube boilers

2.6.2     Steam turbine -Working principle of  impulse and reaction steam turbines.

2.7	Define Condensation.

2.8	State the advantages of Condensation

2.9	State the necessity of cooling towers in thermal power plant

2.10	List the types of cooling towers used in thermal power plants.

2.11	State the advantages of thermal power plants

2.12	State the limitations of thermal power plants

2.13	List the thermal power stations in telangana with their location and their capacity.

2.14	State the causes of pollution in thermal power station.

2.15	List the methods to control Pollution in thermal power station.

CO3 :Explain the construction and working of Hydroelectric power stations.

3.1	List the requirements for setting up of Hydro Electric Power Station

3.2	Explain the principle of working of Hydro power station.

3.3	Define Hydrograph.

3.3.1	Hydraulic pumps – Classification –Construction and working of Reciprocating and Centrifugal pumps,

3.3.2	Classification of hydraulic turbines-Construction and working of Pelton wheel, Francis and Kaplan 
              turbines

3.4	Classify the Hydro Electric Power stations based upon head.

3.5	Classify the Hydro Electric Power stations based upon duty

3.6	Classify the Hydro Electric Power stations based upon location

3.7	Classify the Hydro Electric Power stations based upon hydraulic considerations.

  - Explain the working of High Head Power Station with layout diagram.

  - Explain the working of Medium Head Power Station with layout diagram.

  - Explain the working of low Head Power Station with layout diagram.

  - State the need of Surge Tank.

  - State the need of Forebay.

  - State the need of Spill gates.

  - State the advantages of Hydro Electric Power stations

  - State the limitations of Hydro Electric Power stations

3.16	List the Hydro power stations in Telangana with their location and their capacity

CO4 : Explain the construction and working of Nuclear Power station.

4.1	State the importance of nuclear energy

4.2	Explain fission reactions.

4.3	Explain fusion reactions.

4.4	List various nuclear fuels used in nuclear power station

4.5	State the merits of Nuclear power stations.

4.6	State the limitations of Nuclear power stations.

4.7	Explain the working of Nuclear power station with a block diagram.

4.8	State the use of moderator in nuclear reactor.

4.9	State the need for coolant.

  - State the need for reflector.

4.11	State the need for control rods.

4.12	State the materials used for coolant.

4.13	State the materials used for Reflector.

4.14	State the materials used for control rods

4.15	List the Nuclear power stations in india.

CO5 :Importance of Solar and wind power generation

5.1	State the amount of solar radiation reaching the earth's surface.

5.2	State the principle of conversion of solar radiation into heat.

5.3	Define solar collector.

5.4	List the types of solar collectors.

5.5	Explain the working of flat plate collector.

5.6	Identify different types of concentrating collectors.

5.7	Explain the working of focusing type concentrating collector.

5.8	Explain the working of parabolic trough type concentrating collector.

5.9	State the different methods of storing solar energy.

5.10	State the principle of photo-voltaic conversion

5.11	Define solar cell

5.12	State the working principle of solar cell.

5.13	Describe the current voltage characteristics of solar cell.

5.14	State the function of solar panel.

5.15	List the different types of solar panels.

5.16	Explain the method of generating electrical energy fromsolar Power

5.17	Mention the power available in the wind and the force caused by it on the blades.

5.18	State the different considerations for site selection for installing wind mill.

5.19	List the basic components of a wind mill.

5.20	Describe the constructional details of the wind mill.

5.21	Explain the working principle of the wind mill

CO6 :Outline the need forintegrated Operation and economics of Power Generation

6.1	State the need for integrated operation of power stations.

6.2	Differentiate between isolated operation and integrated operation of power stations.

6.3	List the merits of integrated operation.

6.4	State the limitations of integrated operation.

6.5	Classify the cost as fixed and running.

6.6	Define Load curve andMaximum demand

6.7	Define Load factor and Diversity factor

6.8	Discuss the effects of load factor on the cost of generation

6.9	Discuss the effects of diversity factor on the cost of generation

6.10	Simple problems on the above.

6.11	Define tariff.

6.12	State different types of consumer tariffs.

6.13	Explain simple tariff

6.14	Explain Flat rate tariff

6.15	Explain Block rate tariff

6.16	Explain two part tariff

6.17	Explain Maximum demand tariff

6.18	Explain Power factor tariff

6.19	Explain Three part tariff

6.20	Discuss the effects of power factor on electricity charges

6.21	Mention the methods to improve Power Factor.

Suggested Student Activities

    - StudentvisitsLibrarytorefertoElectrical Manuals.

    - Studentpreparesthe modelsofthepower plants

    - StudentvisitsPowergeneratingstationsfamiliarizewiththeequipment.

    - Visit Power nearbysubstationsand gets familiar with thecomponents.

    - Studentsmaybeasked topreparemodel project of the power system.

    - Preparecharts on different Generatingstationsin ourstatementioningtheir locations.

    - GatherinformationofHVDCtransmissionprojectsinIndiaandpreparea report

    - Identifydifferentinsulatorsinyoursurroundingsandpreparea report

    - Group discussion.

    - SurprisetestsandQuiz.

CO-PO Mapping Matrix

|  | BasicandDisciplineSpecific knowledge | Problem Analysis | Design/Developmentof Solutions | Engineering Tools, Experimentation&Testing | Engineeringpracticesforsociety, sustainability and environment | Project Management | Lifelong learning | LinkedPO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | PO 1 | PO 2 | PO 3 | PO 4 | PO 5 | PO 6 | PO 7 |  |
| CO1 | 3 | 2 |  |  | 2 |  |  | PO1,2,5 |
| CO2 | 2 | 1 |  |  | 3 |  |  | PO 1, 2, 5 |
| CO3 | 3 | 1 |  |  | 1 |  |  | PO 1, 2, 5 |
| CO4 | 3 | 1 |  |  | 3 |  |  | PO 1, 2, 5 |
| CO5 | 2 | 2 |  |  | 1 |  |  | PO 1, 2, 5 |
| CO6 | 2 | 3 |  |  | 2 |  |  | PO 1, 2, 5 |

Internal Evaluation

| Test | Units | Marks |
| --- | --- | --- |
| Mid Sem 1 | 1 and 2 | 20 |
| Mid Sem 2 | 3 and 4 | 20 |
| Slip Test 1 | 1 and 2 | 5 |
| Slip Test 2 | 3 and 4 | 5 |
| Assignments | - | 5 |
| Seminars | - | 5 |
|  | Total | 60 |

QUESTION PAPER PATTERN FOR MID SEMESTER EXAMS

| Sl.No | Description | Level | No of Questions | Marks for each question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Part-A | Remembering(R) | 4 | 1 | Nil | 4 Marks |
| 02 | Part-B | Understanding(U) | 4 | 3 | 2 | 6 Marks |
| 03 | Part-C | Application(A) | 4 | 5 | 2 | 10 Marks |
| Total Marks |  |  |  |  |  | 20 Marks |

MID SEM-I EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-I | 1,2 | 5(a) | 7(a) |  |
|  |  |  | 5(b) | 7(b) |  |
| 2 | Unit-II | 3,4 | 6(a) | 8(a) |  |
|  |  |  | 6(b) | 8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

MID SEM-II EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-III | 1,2 | 5(a) | 7(a) |  |
|  |  |  | 5(b) | 7(b) |  |
| 2 | Unit-IV | 3,4 | 6(a) | 8(a) |  |
|  |  |  | 6(b) | 8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

The length of answer for each question framed in respect of Part-A, B&C shall not exceed ¼ of a page,1 page and 2 pages respectively

QUESTION PAPER PATTERN FOR  SEMESTER END EXAM

| Sl.No | Description | Level | No of Questions | Marks for each question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Part-A | Remembering(R) | 8 | 1 | Nil | 8 Marks |
| 02 | Part-B | Understanding(U) | 8 | 3 | 4 | 12 Marks |
| 03 | Part-C | Application(A) | 8 | 5 | 4 | 20 Marks |
| Total Marks |  |  |  |  |  | 40 Marks |

| Unit No | Questions to be set for SEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | R |  |  | U | A |
| I | Q4 | Q1 |  | Q9(a) | Q13(a) |
| II |  |  |  |  |  |
| III |  | Q2 |  | Q10(a) | Q14(a) |
| IV |  |  |  |  |  |
| V |  | Q3 | Q5,Q6 | Q9(b), Q11(a),Q11(b) | Q13(b), Q15(a),Q15(b) |
| VI |  |  | Q7,Q8 | Q10(b), Q12(a),Q12(b) | Q14(b), Q16(a),Q16(b) |
| Total Questions | 8 |  |  | 8 | 8 |

TATE board OF TECHNICAL EDUCATION &TRAINING, TELANGANA

diploma in ELECTRICAL & eLECTRONICS eNGG.

Sub code: EE-304

ELECTRICAL POWER SYSTEMS – GENERATION

MID -i EXAM MODEL PAPER

Time: 60 min.							 Total Marks: 20

______________________________________________________________________________

PART – A                                  	       Marks: 4 x 1= 4

Instructions:   (1) Answer all questions

(2) Each question carries one mark.

- Define conventional energy.

- State any two non conventional sources of energy.

- Define Condensation.

- State types of cooling towers

PART - B       		                Marks:  2 x 3 = 6

Instructions: (1) Answer all questions.

(2) Each question carries three marks.

5.(a)  State the need of energy conservation

OR

5.(b)  State the relative merits of Conventional types of sources

6.(a)  State the advantages of Pulverization

OR

6. (b)  State the necessity of cooling towers

PART - C              		                    Marks:  2 x 5= 10

Instructions: (1) Answer all questions.

(2) Each question carries five marks.

7.(a). Explain the method of generating electrical energy from Biomass Power.

OR

7.(b). Explain the method of generating electrical energy from Geo-thermal Power

8.(a).  Draw the simple line diagram of a condensing type thermal power station					OR

8.(b).  Discuss the causes of pollution in thermal power station.

STATE board OF TECHNICAL EDUCATION & TRAINING,TELANGANA

diploma in ELECTRICAL & eLECTRONICS eNGG.

Sub code: EE-304

ELECTRICAL POWER SYSTEMS - GENERATION

MID -Ii EXAM MODEL PAPER

Time: 60 min.							Total Marks: 20

______________________________________________________________________________

PART – A                                  	       Marks: 4 x 1= 4

Instructions:   (1) Answer all questions

(2) Each question carries one mark.

1. Define Hydrograph.

2. Classify the Hydro Electric Power stations based upon duty

3. Define fission reactions.

4. State any nuclear fuels of energy.

PART - B              		               Marks:  2 x 3 = 6

Instructions: (1) Answer all questions.

(2) Each question carries three marks.

5.(a). State the need of Surge Tank.

OR

5.(b). List the Hydro power stations in Telangana with their location and their capacity

6.(a). State the need for coolant in nuclear power station.

OR

6.(b). State the materials used for control rods

PART - C              		                 Marks:  2 x 5 = 10

Instructions: (1) Answer all questions.

(2) Each question carries five marks.

7.(a). Explain the working of High Head Power Station with layout diagram.

OR

7.(b). State the advantages and limitations of Hydro Electric Power stations

8.(a). Draw the block diagram of Nuclear power station.

OR

8.(b).State the necessity of moderator and reflector in nuclear power station.

STATE board OF TECHNICAL EDUCATION &TRAINING,TELANGANA

diploma in ELECTRICAL & eLECTRONICS eNGG.

Sub code: EE-304

ELECTRICAL POWER SYSTEMS - GENERATION

SEMESTER END EXAM MODEL PAPER

Time: 2 hourS							Total Marks: 40

|  | PART – A | Marks: 8 × 1= 8 |
| --- | --- | --- |

Instructions:   (1) Answer all questions

(2) Each question carries one mark.

- Define energy conservation.

- Define fusion reactions.

- Define solar collector.

- State the need for control rods in nuclear power station.

- List any two types of solar panels.

- List any two types of concentrating collectors.

- Define tariff.

- Define Load curve.

|  | PART – B | Marks: 4 × 3= 12 |
| --- | --- | --- |

Instructions: (1) Answer all questions.

(2) Each question carries three marks.

9.(a) Compare conventional and non conventional energy sources in any three aspects

OR

9.(b) State the principle of photo-voltaic conversion

10.(a) Explain the working of low Head Power Station with layout diagram.

OR

10.(b) Define Load factor and Diversity factor

11.(a) List the basic components of a wind mill.

OR

11.(b) Draw the VI characteristics of solar cell.

12.(a) Explain simple tariff

OR

12.(b) List any three merits of integrated operation.

|  | PART – C | Marks: 4 × 5= 20 |
| --- | --- | --- |

Instructions: (1) Answer all questions.

(2) Each question carries five marks.

13.(a) Explain the method of generating electrical energy from Tidal Power.

OR

13. (b) Explain the working of parabolic trough type concentrating collector.

14. (a)  Analyze the merits and limitations of Nuclear power stations.

OR

14.(b) Differentiate between isolated operation and integrated operation of power stations

15.(a) Explain the method of generating electrical energy from solar Power

OR

15.(b) Explain the working principle of the wind mill

16.(a) Discuss the effects of power factor on electricity charges

OR

16.(b) Explain Three part tariff