State Board of Technical Education &Training (TG)

| Course Title: | Electrical Measurements Lab | Course Code | EE-306 |
| --- | --- | --- | --- |
| Semester | III Semester | Course Group | Practical |
| Teaching Scheme in Periods (L:T:P) | 15:0:30 | Credits | 1.25 |
| Methodology | Lecture + Practical | Total Contact Periods | 45 |
| CIE | 60 Marks | SEE | 40 Marks |

Department of Technical Education

C-26

Pre requisites

This course requires

- Data handling through graphs:

  - Select proper X & Y parameters

  - Choose proper scale

  - Analyse the trend of the graph

  - Correlate trend of the graph with the relation between the parameters

- Use of Voltmeter, Ammeter, Wattmeter

- The knowledge of electrical circuits and fundamentals of various measuring instruments

Course Outcomes

Upon the completion of the course the students will have the ability to

| Course Outcomes |  |
| --- | --- |
| CO1 | - Identify electrical measuring instruments |
| CO2 | Measure the various electrical quantities |
| CO3 | Compare calibrated meter readings with standard meters |

Suggested Learning Outcomes

- Identify electrical measuring instruments

- Identify measuring instruments based on symbols on the dial, type, accuracy, class position, and scale.

- Identify the components of PMMC (Permanent Magnet Moving Coil) and MI (Moving Iron) instruments.

- Measurement of various electrical quantities

- Measurement of active, reactive, apparent power in R-L series circuit using ammeter, voltmeter and wattmeter.

- Measurement of AC/DC current and AC/DC voltage using a Clamp-on meter.

- Measurement of medium resistance by Volt – ampere method

- Measurement of insulation resistance using Megger

3 Compare calibrated meter readings with standard meters

3.1 Calibration and testing of single phase energy meter

3.2 Calibration of dynamometer wattmeter

CO-PO Mapping Matrix

|  | Basic and Discipline Specific know ledge | Problem Analysis | Design/Development of Solutions | Engineering Tools, Experimentation & Testing | Engineering practices for society, sustainability and environment | Project Management | Lifelong learning | Linked PO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO\PO | PO 1 | PO 2 | PO 3 | PO 4 | PO 5 | PO6 | PO7 |  |
| CO1 | 3 | 1 | 1 | 1 | - | 2 | 1 | 1,2,3,6,7 |
| CO2 | 3 | - | 2 | 1 | - | 2 | 1 | 1,3,6,7 |
| CO3 | - | 1 | 3 | - | - | 2 | 1 | 3,4,6,7 |
| CO4 | - | 3 | 2 | - | - | 2 | 1 | 2,3,4,5,6,7 |
| CO5 | 2 | 1 | 1 | - | - | 1 | 1 | 1,2,3,6,7 |
| CO6 | 2 | 1 | 1 | - | - | 1 | 1 | 1,2,3,6,7 |

STATE BOARD OF TECHNICAL EDUCATION AND TRAINING, TELANGANA

MODEL QUESTION PAPER

DEEE III SEMESTER

MID SEMESTER-I EXAMINATION

Corse Code: EE-306								Duration: 1 Hour

Course Name: Electrical Measurements Lab			 	MaxMarks: 20

Note: Answer allotted Question.

Instructions to the Candidate:

(i)Record the results on a graph sheet if required, and conclude your observation of the experiment

(ii) Draw the circuit diagram for illustration; choose appropriate values when not mentioned in the question

- Identify measuring instruments based on symbols on the dial, type, accuracy, class position, and scale.

- Identify the components of PMMC (Permanent Magnet Moving Coil) and MI (Moving Iron) instruments.

- Measurement of active, reactive, apparent power in R-L series circuit using ammeter, voltmeter and wattmeter.

- Measurement of AC/DC current and AC/DC voltage using a Clamp-on meter.

STATE BOARD OF TECHNICAL EDUCATION AND TRAINING, TELANGANA

MODEL QUESTION PAPER

DEEE III SEMESTER

MID SEMESTER-II EXAMINATION

Corse Code: EE-306								Duration: 1 Hour

Course Name: Electrical Measurements Lab				MaxMarks: 20

Note: Answer allotted Question.

Instructions to the Candidate:

(i)Record the results on a graph sheet if required, and conclude your observation of the experiment

(ii) Draw the circuit diagram for illustration; choose appropriate values when not mentioned in the question

- Measurement of medium resistance by Volt – ampere method

- Measurement of insulation resistance using Megger

- Calibration and testing of single-phase energy meter

- Calibration of dynamometer wattmeter

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III Semester

Semester End Examination

Corse Code: EE-306							Duration: 2 Hour

Course Name: Electrical Measurements Lab 			MaxMarks: 40

Note: Answer allotted Question.

Instructions to the Candidate:

(i)Record the results on a graph sheet if required, and conclude your observation of the experiment

(ii) Draw the circuit diagram for illustration; choose appropriate values when not mentioned in the question

- Identify measuring instruments based on symbols on the dial, type, accuracy, class position, and scale.

- Identify the components of PMMC (Permanent Magnet Moving Coil) and MI (Moving Iron) instruments.

- Measurement of active, reactive, apparent power in R-L series circuit using ammeter, voltmeter and wattmeter.

- Measurement of AC/DC current and AC/DC voltage using a Clamp-on meter.

- Measurement of medium resistance by Volt – ampere method

- Measurement of insulation resistance using Megger

- Calibration and testing of single-phase energy meter

- Calibration of dynamometer wattmeter