State Board of Technical Education & Training, Telangana

Department of Technical Education

Diploma in Electrical & Electronics Engineering

C-26 Curriculum

| Course Title | Electrical Estimation and Installation | Course Code | EE-401 |
| --- | --- | --- | --- |
| Semester | IV Semester | Course Group | Core |
| Teaching Scheme (L:T:P) | 60:15:0 | Credits | 3 |
| Methodology | Lecture + Tutorials | Total Contact Periods | 75 |
| CIE | 60 Marks | SEE | 40 Marks |

COURSE DESCRIPTION

This course provides comprehensive knowledge and skills in electrical estimation and installation practices. It covers various wiring systems, estimation techniques for domestic, power, and irrigation loads, earthing systems, distribution substations, overhead lines, and compliance with departmental procedures and electrical regulations.

PREREQUISITES

Knowledge of basic principles of electricity, domestic wiring, electrical workshop, types of loads in power and irrigation use, earthing, distribution substations, overhead lines, departmental procedures, and electricity rules.

COURSE OBJECTIVES

- To understand various electrical wiring systems and safety procedures

- To develop skills in estimating materials for different types of electrical installations

- To plan and design electrical installations for domestic, industrial, and agricultural applications

- To understand earthing systems and distribution substation components

- To estimate materials for overhead distribution lines

- To familiarize with departmental procedures and electrical regulations

COURSE OUTCOMES (COs)
Upon completion of the course, the student shall be able to:

| CO No. | Course Outcome |
| --- | --- |
| CO1 | Infer various wiring systems and safety procedures |
| CO2 | Estimate the material required for given domestic loads |
| CO3 | Plan for the material required for power loads and irrigation pump sets |
| CO4 | Develop Earthing Systems and Distribution substations |
| CO5 | Estimate material required for Overhead lines |
| CO6 | Make use of Department procedures and Electricity Act 2003 |

DETAILED COURSE CONTENTS

UNIT 1: Wiring Systems and Safety Procedures Duration: 12 Periods (L: 10, T: 2)

Types of house wiring systems - Various types of cables - Various types of Main switches - Different types of fuses, fuse carriers and MCBs, ELCB and RCCB - Safety procedures - Electric shock and first aid, causes for fire hazards in Electrical installations.

UNIT 2: Estimation of Lighting Loads Duration: 15 Periods (L: 12, T: 3)

Estimation of domestic lighting installation service main - Types of service mains - Specification - Quantity of materials required for service main - Estimation and selection of interior wiring system suitable to a given building - Number of circuits - Calculation of length of wire and quantity of accessories required - Estimates of materials for execution of the domestic wiring installation as per National Electrical Code - Wiring layout for an office building, and a residential building with 2 bedroom house.

UNIT 3: Estimation of Power Loads and Irrigation Pump Sets
Duration: 14 Periods (L: 11, T: 3)

Estimation and costing up to 20 KW, calculation of load current based on ratings of various equipment to be installed - Size of wire - Length of wire, number of circuits - Quantity of accessories for execution of work as per standard practice. Irrigation pump installation - Estimation up to 10 HP service main - Type - Calculation of size and quantity of wire and other components required - Type of starter and control panel - Accessories quantity and estimation - Estimate for the installation of submersible pump.

UNIT 4: Estimation of Earthing and Distribution Substation
Duration: 10 Periods (L: 8, T: 2)

Quantity estimation for materials required in Electrical Earthing both for pipe earthing and plate Earthing suitable to the given equipment or transformer substation. HG fuse operating mechanism, isolators, lightning arrestors for pole mounted substation and plinth mounted substation.

UNIT 5: Estimation of Overhead Lines Duration: 12 Periods (L: 10, T: 2)

Distribution lines of 11 kV and 400 Volt OH lines - Estimation only - Quantity of materials required for lines of length 1 km - Number of poles - Cross arms clamps - Insulators - Conductor length and size for a given power transmission - Distribution transformer erection - Estimation of quantity of materials required for structures, isolators.

UNIT 6: Departmental Procedures, REC and Electrical Act 2003
Duration: 12 Periods (L: 10, T: 2)

Electrical installation testing - Departmental procedure for testing before giving service connection - Departmental procedure for obtaining service connection - Desirable insulation resistance for domestic and power circuits - Tests for measuring insulation resistance - Procedure for conducting insulation resistance test and continuity tests, earth continuity test - Design of rural electrification scheme - Load survey-determination of capacity of transformer - Estimation of quantity of materials required for the erection of distribution lines and 11 kV feeder from a nearby 11 kV feeder - Determining the economic feasibility of the scheme as per the procedure laid out in NEC - Extracts from Indian Electricity rules 1956 and code of practice by NEC regarding - Domestic power, agricultural industrial wiring installations, erection of 11 kV, 400 Volt distribution lines - Pole mounted transformer - New I.E. Rules.

SUGGESTED LEARNING OUTCOMES

CO1 - Infer various wiring systems and safety precaution
1.1 List the different types of wires used in House wiring.
1.2 List the different types of single phase and three phase cables.
1.3 State the uses of standard wire gauge.
1.4 Specify the gauge of wire and number of strands in a multi strand by giving its current carrying capacity.
1.5 List the different types of wiring systems.
1.6 Discuss about Surface conduit wiring system.
1.7 Discuss about Concealed wiring system.
1.8 List the various types of Main Switches.
1.9 Select MCB based on the specifications.
1.10 List the types of MCBs.
1.11 State the applications of MCCB, ELCB and RCCB.
1.12 State the applications of Distribution board.
1.13 Specify the fuse carrier material used for Rewirable (Kit Kat) fuses.
1.14 Specify the fuse carrier material used for Open type fuse.
1.15 Specify the fuse carrier material used for Cartridge fuses.
1.16 State the reasons for fire accidents in Electrical system.
1.17 Discuss the reasons for not using fuse in Neutral wire.
1.18 Explain the effects of shocks and electrocution.
1.19 Demonstrate the procedure of first aid for shock treatment to an electrocuted person.

CO2 - Estimate the materials required for Domestic loads
2.1 Explain different types of service mains.
2.2 Select the service main suited to the given Load.
2.3 Discuss the merits and demerits of different systems of interior wiring.
2.4 Select the type of wiring system suitable to the given Load.
2.5 List the electrical material used in wiring the service mains.
2.6 Estimate the cost of material for the given domestic loads.
2.7 Estimate the material requirement for indoor wiring given the plan of a building and draw the Wiring Layout of a Single Room.
2.8 Estimate the material requirement for indoor wiring given the plan of a building and draw the Wiring Layout of a 2-BHK House.
2.9 Draw the single line wiring diagram for an office building.

CO3 - Plan for the material required for power loads and irrigation pump sets
3.1 Draw the single line wiring diagram of 3 phase induction motor with DOL starter.
3.2 Draw the single line wiring diagram of 3 phase induction motor with Y-Δ starter.
3.3 Prepare layout and draw single line wiring diagrams as per standard practices for a given set of machines in a workshop/electrical laboratory up to 3 motors.
3.4 Select the type of wiring system and lighting requirements for workshop.
3.5 Select the wire sizes for various circuits in the workshop.
3.6 Specify important material used in the workshop.
3.7 Prepare the estimate of the complete installation of workshop as per standard practices.
3.8 Select the type of wiring and service mains used for the irrigation pump set.
3.9 Specify the material used in the execution of the irrigation pump set installation.
3.10 Prepare an estimate for electrification of the irrigation pump set.
3.11 Prepare an estimate for installation of submersible pump.

CO4 - Develop Earthing Systems and Distribution substations
4.1 State the purpose of Earthing.
4.2 List the types of Earthing.
4.3 Select the suitable type of Earthing for a given installation as per IS3043.
4.4 Specify the different components used in electrical Earthing of a given installation.
4.5 List the material that are to be used in the earth pit surrounding the earth Electrode.
4.6 Prepare the estimate for Pipe Earthing.
4.7 Prepare the estimate for Plate Earthing.
4.8 State the concept of maintenance free chemical gel earthing.
4.9 Explain the method of chemical gel earthing.
4.10 Estimate the quantity of material required for pole mounted substation.
4.11 Estimate the quantity of material required for plinth mounted substation.

CO5 - Estimate material required for Overhead lines
5.1 State the requirements of line supports used in overhead lines.
5.2 List the factors influencing the selection of line supports.
5.3 List the types of line supports.
5.4 Discuss the need for cross arms.
5.5 List the types of cross arms.
5.6 Calculate the total number of insulators required for the given scheme.
5.7 Select the type of insulators to be used for overhead lines.
5.8 Select the type, size and number of cross arms required for the overhead line.
5.9 Determine the size and total length of overhead conductor required for the line giving due consideration for the sag.
5.10 Estimate the quantity of material required for given 11 KV overhead lines as per NEC standard practices.
5.11 Estimate the quantity of material required for a given 400V overhead Line as per NEC standard practice.

CO6 - Make use of Department procedures and Electricity act 2003
6.1 Describe the departmental procedure for obtaining a service connection.
6.2 Discuss insulation resistance desirable for a given electrical installation.
6.3 Mention the value of earth resistance to be maintained for a given electrical Installation.
6.4 Describe the procedure to test the continuity of wiring in an electrical installation.
6.5 Explain the procedure for conducting insulation test of domestic wiring.
6.6 Conduct the Load Survey in a village for i) Domestic ii) Industrial iii) Agricultural loads.
6.7 Calculate the capacity of a transformer required assuming suitable diversity factor.
6.8 Determine the location point of transformer and calculate the tail end voltage regulations as per the practice in NEC.
6.9 Determine the economic feasibility of the scheme as per the standard norms fixed by REC to execute the scheme.
6.10 State rules applicable to electrical installations as per Electrical act 2003.
6.11 State the standards and code of practice followed by NEC in respect of electrical installations and OH lines of 11 KV and 400V pole mounted and Plinth mounted Substations.
6.12 State the function of Central Electricity Authority.
6.13 State new I.E. Rules relating to safety and electric supply given by the Central Electricity Authority- 2010.

REFERENCE BOOKS

- S.L. Uppal – Electrical Wiring, Estimating & Costing

- J.B. Gupta – Estimating & Costing

- Balbir Singh – Electrical Drawing

- Arora – Electrical Wiring

- BVS Rao – Maintenance and Operation of Electrical Equipment – Vol-I – TMH

- S. Rao – Testing, Commissioning Operation & Maintenance of Electrical equipment – TMH

- CR Dargar – Electrical Installation design and drawing – New Asian publishers

SUGGESTED E-LEARNING REFERENCES

- http://electrical4u.com/

- http://www.nptel.ac.in/

- https://youtube.com/

- https://3.imimg.com/data3/JA/HU/MY-7591709/copper-earthing-electrodes.pdf

SUGGESTED STUDENT ACTIVITIES

- Student visits to the houses which are under construction so as to visualize the pipe layout and accessories fixtures.

- Student visits Distribution Substation i.e., Pole mount and Plinth mount.

- Visit to nearby field and understand the Irrigation pump estimation.

- Visit to small industry or workshop and estimate the load and rating of the accessories required.

- Group discussion.

- Surprise test.

- Student visits to the Industries, Malls and software companies which operate at night to understand the importance of Lighting, to shops which provide lighting solutions.

- Quiz.

CO-PO MAPPING MATRIX

| CO | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | - | - | - | 1 | - | 1 |
| CO2 | 3 | 2 | 2 | 1 | 1 | 2 | 1 |
| CO3 | 3 | 2 | 2 | 1 | 1 | 2 | 1 |
| CO4 | 3 | - | 2 | - | 1 | 2 | 1 |
| CO5 | 3 | 3 | 3 | 2 | 2 | 2 | 1 |
| CO6 | 3 | 1 | - | 2 | 2 | 1 | 1 |

Scale: 1-Low, 2-Medium, 3-High
Linked POs: PO1-Basic Knowledge, PO2-Problem Analysis, PO3-Design, PO4-Engineering Tools, PO5-Society, PO6-Project Management, PO7-Life-long Learning

ASSESSMENT PATTERN

Continuous Internal Evaluation (CIE): 60 Marks

| Component | Units Covered | Marks |
| --- | --- | --- |
| Mid-Semester Test I | 1 & 2 | 20 |
| Mid-Semester Test II | 3 & 4 | 20 |
| Slip Test 1 | 1 & 2 | 5 |
| Slip Test 2 | 3 & 4 | 5 |
| Assignments | All | 5 |
| Seminars | All | 5 |
| Total |  | 60 |

Semester End Examination (SEE): 40 Marks

- Part A (Remembering): 8 questions × 1 mark = 8 Marks (No choice)

- Part B (Understanding): 4 questions × 3 marks = 12 Marks (Choice: 4 out of 8)

- Part C (Application): 4 questions × 5 marks = 20 Marks (Choice: 4 out of 8)

- Total: 40 Marks

MODEL QUESTION PAPERS

MID SEMESTER EXAM I (Units 1 & 2)
Time: 1 Hour, Total Marks: 20

PART A - Answer ALL Questions (4 × 1 = 4 Marks)

- State the use of standard wire gauge.

- State the reason for fire accidents in Electrical system.

- What is a service main?

- Define interior wiring?

PART B - Answer TWO Questions (2 × 3 = 6 Marks)

5. a) List the different types of single phase and three phase cables.
OR
b) List the types of MCBs.
6. a) Draw the single line wiring layout for an office building.
OR
b) Find number of sub circuits for domestic load: 100W lamps - 10 no; Ceiling fans - 5 no; Fluorescent lamp - 5 no and 1 HP motor of efficiency 85%. Assume missing data.

PART C - Answer TWO Questions (2 × 5 = 10 Marks)
7. a) Explain Concealed wiring system.
OR
b) Explain the effects of shocks and electrocution.
8. a) Write the merits and demerits of interior wiring.
OR
b) Explain different types of service mains.

MID SEMESTER EXAM II (Units 3 & 4)
Time: 1 Hour, Total Marks: 20

PART A - Answer ALL Questions (4 × 1 = 4 Marks)

- Write steps to solve estimation on power load.

- What are steps to solve estimation on irrigation pump set?

- State the purpose of earthing.

- State the different ratings of transformer used for pole mounted substation.

PART B - Answer TWO Questions (2 × 3 = 6 Marks)

5. a) Write starters used depends on rating and type of motors.
OR
b) Draw sketch of service line and irrigation pump set of 7.5 KW is to be installed at distance of 20 m from a 3-phase, 415 V distribution line.
6. a) List the types of earthing.
OR
b) Estimate the materials required for plinth mounted substation.

PART C - Answer TWO Questions (2 × 5 = 10 Marks)
7. a) Draw wiring diagram of 5.5 kW, 3-phase, 400 V motor. The distance between the L.T pole and the pump set shed (5×3×3m) is 10 m.
OR
b) An agricultural pump set of 7.5 kW, 3-phase, 415 V motor is to be installed at distance of 20 m distribution line. Find size of cable and length of cable.
8. a) Estimate the quantity of material required for pole mounted substation.
OR
b) Estimate the quantity of material required for plate earthing.

SEMESTER END EXAMINATION (All Units)
Time: 2 Hours, Total Marks: 40

PART A - Answer ALL Questions (8 × 1 = 8 Marks)

- List the different types of wires used in house wiring.

- State the purpose of earthing.

- List the types of line supports.

- State the uses of standard wire gauge.

- State the need for cross arms.

- State the requirements of line supports used in overhead lines.

- State rules applicable to electrical installations as per Electrical act 2003.

- State the function of Central Electricity Authority.

PART B - Answer FOUR Questions (4 × 3 = 12 Marks)

9. a) State the merits and demerits of different systems of interior wiring.
OR
b) List the factors influencing the selection of line supports.
10. a) State the types of earthing in electrical installations.
OR
b) Describe the departmental procedure for obtaining a service connection.
11. a) List the type of insulators to be used for overhead lines.
OR
b) List the types of cross arms.
12. a) State the value of earth resistance to be maintained for a given electrical installation.
OR
b) Write Survey the load particulars in a village.

PART C - Answer FOUR Questions (4 × 5 = 20 Marks)

13. a) List the reasons for not using fuse in Neutral wire.
OR
b) Estimate the materials required for erection 3 phase, 5 wire distribution line of length 2 km and assume the span between the two poles is 60 m over a 8 m long PSCC poles.
14. a) Estimate the materials for Plate Earthing.
OR
b) Explain the procedure for conducting insulation test of domestic wiring.
15. a) Estimate the quantity of material required for a 11 kV, 3-phase overhead line with 6/1x2.59 mm ACSR conductor for 1 km long on 8 m PSCC poles. The span between two poles is 75 m.
OR
b) Write Eight main components of overhead lines.
16. a) Explain insulation resistance for a given electrical installation.
OR
b) Explain the test procedure for continuity of wiring in an electrical installation.