State Board of Technical Education & Training, Telangana

Department of Technical Education

Diploma in Electrical & Electronics Engineering

C-26 Curriculum

| Course Title | Electrical Power Systems (T & D) | Course Code | EE-404 |
| --- | --- | --- | --- |
| Semester | IV Semester | Course Group | Core |
| Teaching Scheme (L:T:P) | 60:15:00 | Credits | 3 |
| Methodology | Lecture + Tutorials | Total Contact Periods | 75 |
| CIE | 60 Marks | SEE | 40 Marks |

COURSE DESCRIPTION

This course covers the principles of electrical power transmission and distribution systems. Topics include transmission line parameters, HVDC systems, overhead line structures, underground cables, substation equipment, distribution systems, and an introduction to smart grid technology. Emphasis is placed on analysis, design considerations, and practical applications in power system engineering.

PREREQUISITES

Basic knowledge of transformers, AC circuit analysis, electrical machines, and power system fundamentals.

COURSE OBJECTIVES

- To understand transmission line parameters, performance, and corona effects.

- To analyze HVDC transmission systems and their applications.

- To study overhead line structures, insulators, and sag calculations.

- To compare overhead lines with underground cables and analyze cable construction.

- To identify substation equipment and their functions.

- To classify distribution systems and understand smart grid concepts.

COURSE OUTCOMES (COs)

Upon completion of the course, the student shall be able to:

| CO No. | Course Outcome |
| --- | --- |
| CO1 | Analyze transmission lines and their performance |
| CO2 | Apply the concepts of HVDC transmission systems |
| CO3 | Analyze transmission and distribution line structures and their constructional features |
| CO4 | Apply the concepts of cables in transmission and distribution |
| CO5 | Detail the equipment in a substation |
| CO6 | Classify and analyze distribution systems |

DETAILED COURSE CONTENTS

UNIT 1: Transmission Lines Duration: 15 Periods (L: 12, T: 3)

Need for transmission lines - AC & DC Transmission - Effect of voltage and frequency - Types of conductors - Current distortion effects - Transmission line conductors - Calculation of transmission line inductance and capacitance - Transposition of overhead lines - Regulation - Calculation of regulation - Types of transmission lines - Ferranti's effect - Corona in transmission lines - Effects of corona.

UNIT 2: HVDC Transmission Systems Duration: 10 Periods (L: 8, T: 2)

High voltage DC Transmission - Need - Basic Concepts - Basic block diagram - Types of HVDC transmission - HVDC projects in India - Advantages and disadvantages of HVDC transmission - Basics of protection of HVDC systems.

UNIT 3: Line Structures for Transmission and Distribution
Duration: 15 Periods (L: 12, T: 3)

Components of overhead line - Line supports - Cross arms - Pole guys - Conductors spacing and ground clearance - Sag - Factors affecting sag - Calculating sag - Disadvantages of loose span - Insulators - Requirements of insulators - Types of Insulators - Voltage distribution across string of insulators - String efficiency - Flashover, Puncture - Improving string efficiency - Arcing horns and guard rings - Causes for failure of insulators.

UNIT 4: Cables Duration: 10 Periods (L: 8, T: 2)

Cables - Comparison between overhead lines and underground cables - Classification of cables - General construction of cables - Types of cables - Insulation resistance of cables.

UNIT 5: Substations Duration: 10 Periods (L: 8, T: 2)

Definition and classification of substations - Equipment in substations - Purpose of each equipment - Substation auxiliary supply - Line diagram of 33KV/11KV and 11KV/400V substation.

UNIT 6: Distribution Systems and Introduction to Smart Grid
Duration: 15 Periods (L: 12, T: 3)

Primary and secondary distribution - Feeders - Distributors - Service mains - Classification of distribution systems - Radial and Ring systems - Voltage drop calculations in DC and AC - Definition of Electric Grid - Concept of Smart Grid - Difference between conventional & smart grid.

ASSESSMENT PATTERN

Continuous Internal Evaluation (CIE): 60 Marks

| Component | Units Covered | Marks |
| --- | --- | --- |
| Mid-Semester Test I | 1 & 2 | 20 |
| Mid-Semester Test II | 3 & 4 | 20 |
| Slip Test 1 | 1 & 2 | 5 |
| Slip Test 2 | 3 & 4 | 5 |
| Assignments | All | 5 |
| Seminars | All | 5 |
| Total |  | 60 |

SEMESTER END EXAMINATION (SEE): 40 MARKS

- Part A (Remembering): 8 questions × 1 mark = 8 Marks (No choice)

- Part B (Understanding): 4 questions × 3 marks = 12 Marks (Choice: 4 out of 8)

- Part C (Application): 4 questions × 5 marks = 20 Marks (Choice: 4 out of 8)

- Total: 40 Marks

CO-PO MAPPING MATRIX

| CO | PO1: Basic Knowledge | PO2: Problem Analysis | PO3: Design | PO4: Engineering Tools | PO5: Society | PO6: Project Management | PO7: Life-long Learning |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 3 | -- | -- | -- | -- | -- |
| CO2 | 3 | 3 | -- | -- | -- | -- | 1 |
| CO3 | 3 | 3 | -- | -- | -- | -- | -- |
| CO4 | 3 | 2 | -- | -- | -- | -- | -- |
| CO5 | 3 | 1 | -- | -- | -- | -- | -- |
| CO6 | 3 | 2 | -- | -- | -- | -- | 1 |

Mapping Scale:
1 = Low | 2 = Medium | 3 = High | -- = Not Mapped

REFERENCE BOOKS

- S.L. Uppal - Electrical Power

- Soni, Gupta, Bhatnagar - Electrical Power Systems - Dhanpat Rai & Sons

- A.T. Starr - Generation, Transmission and Utilization

- C.L. Wadhwa - Electrical Power Systems - New Age International (P) Limited

- J.B. Gupta - Electrical Power Plants

- G.D. Roy - Non-conventional Energy Sources

- K.R. Padiyar - HVDC Power Transmission System Technology

- S.N. Singh - Electrical Power Generation, Transmission and Distribution

- NEDCAP - Non-Conventional Energy Guidelines

SUGGESTED E-LEARNING REFERENCES

- http://electrical4u.com/

- www.nptel.ac.in

- MIT OpenCourseWare - Electrical Engineering and Computer Science

SOFTWARE TOOLS FOR PRACTICAL SIMULATION

- ETAP - Electrical system analysis

- MATLAB/Simulink - Power system modeling

- PowerWorld Simulator - Power flow analysis

- PSCAD - Power system simulation

SUGGESTED STUDENT ACTIVITIES

- Visit library to refer to electrical manuals and standards.

- Prepare models of different power system components.

- Visit power generating stations to familiarize with equipment.

- Visit nearby substations and identify components.

- Prepare charts on different generating stations in Telangana.

- Gather information on HVDC transmission projects in India and prepare report.

- Identify different insulators in surroundings and prepare report.

- Watch YouTube videos on SMART GRID and MICRO GRID and prepare summary.

- Participate in group discussions on power system topics.

- Prepare model project of a power system.

- Attend surprise tests and quizzes for self-assessment.

DETAILED SUGGESTED LEARNING OUTCOMES

CO1: ANALYZE TRANSMISSION LINES AND THEIR PERFORMANCE

1.1 Explain the need for transmission and distribution lines
1.2 Classify transmission lines based on supply voltage and number of conductors
1.3 State advantages of DC and AC transmission systems
1.4 Explain effect of voltage on transmission lines
1.5 Explain effect of frequency on transmission lines
1.6 Explain effect of voltage on line efficiency, voltage drop, line loss, active power, reactive power, and volume of conductor material
1.7 State types of transmission line conductors: Solid, Stranded, Hollow, Bundled
1.8 State merits of different conductor types
1.9 Explain current distortion effects: Skin effect, Proximity effect, Spirality effect, Kelvin's law
1.10 State formula for inductance of 1-phase and 3-phase systems
1.11 Calculate inductance for given conductor diameter and spacing
1.12 State formula for capacitance of 1-phase and 3-phase systems
1.13 Calculate capacitance for given conductor diameter and spacing
1.14 State need for transposition of overhead lines
1.15 Define short, medium, and long transmission lines
1.16 Define regulation and percentage regulation
1.17 Express approximate formula for percentage regulation in short lines
1.18 Calculate regulation for short transmission lines
1.19 State reason for Ferranti effect
1.20 Define corona in transmission lines
1.21 List factors affecting corona

CO2: APPLY THE CONCEPTS OF HVDC TRANSMISSION

2.1 State need for HVDC transmission
2.2 Explain basic concepts of HVDC transmission
2.3 Detail block diagram of HVDC system
2.4 List types of HVDC transmission
2.5 List locations of HVDC projects in India
2.6 Outline advantages and disadvantages of HVDC transmission
2.7 Analyze protective measures for HVDC systems

CO3: ANALYZE TRANSMISSION AND DISTRIBUTION LINE STRUCTURES

3.1 Identify primary components of overhead lines
3.2 List requirements of line supports
3.3 List factors influencing selection of line supports
3.4 List types of line supports
3.5 Outline advantages and disadvantages of different line supports
3.6 Explain need for cross arms
3.7 State necessity for pole guys
3.8 Explain types of guy fixing: bow guy, fly guy, pole strut
3.9 State factors affecting conductor spacing and ground clearance
3.10 Define sag
3.11 State factors affecting sag
3.12 State formula for calculating sag for supports at same/different levels
3.13 Solve problems on sag calculation
3.14 State disadvantages of loose spans
3.15 State need for insulators
3.16 List requirements of insulators
3.17 List applications of Pin type, Strain type, Suspension type, Shackle type insulators
3.18 Explain non-uniform voltage distribution across insulator string
3.19 State formula for voltage across individual insulator and string efficiency
3.20 Define flashover, puncture, and string efficiency
3.21 List methods of improving string efficiency
3.22 State need for arcing horns and guard rings
3.23 List causes of insulator failure

CO4: APPLY THE CONCEPTS OF CABLES

4.1 Define cables
4.2 Compare overhead lines with underground cables
4.3 Classify cables based on: number of conductors, voltage, insulation, dielectric stress improvement
4.4 Explain construction of different cables: Low voltage, HT, Super tension, EHV
4.5 State equation for insulation resistance of cable
4.6 Solve problems on insulation resistance

CO5: DETAIL THE EQUIPMENT IN A SUBSTATION

5.1 Explain need for substations
5.2 List types of substations
5.3 List equipment used in substations: Busbars, Insulators, Transformers, Switchgear, Indicating/metering equipment, Protective relays, Lightning arrestors, Cables, Fire fighting equipment
5.4 Specify function of each equipment
5.5 Explain auxiliary supply in substations
5.6 Outline line diagram of 33KV/11KV substation
5.7 Draw line diagram of 11KV/400V substation

CO6: CLASSIFY AND ANALYZE DISTRIBUTION SYSTEMS

6.1 Compare primary and secondary distribution
6.2 Explain feeder, distributor, and service mains
6.3 Classify distribution systems by: type of current, construction, service, number of wires, connection scheme
6.4 List types of distribution systems
6.5 State advantages and disadvantages of radial, parallel, and ring main systems
6.6 List steps for voltage drop calculations in AC distributors
6.7 Solve problems on voltage drop in DC & AC distributors
6.8 Define electric grid and smart grid
6.9 Explain need for smart grid
6.10 Compare conventional and smart grid

BLUEPRINT OF MARKS FOR SEE

Note: Q1-Q16 refer to question numbers in Semester End Examination.

| Unit | Unit Name | Periods | R (Remembering) | U (Understanding) | A (Application) |
| --- | --- | --- | --- | --- | --- |
| 1 | Transmission Lines | 15 | Q4 | Q1 | Q9(a), Q13(a) |
| 2 | HVDC Transmission Systems | 10 |  |  |  |
| 3 | Line Structures for T&D | 15 |  | Q2 | Q10(a), Q14(a) |
| 4 | Cables | 10 |  |  |  |
| 5 | Substations | 10 |  | Q3 | Q5, Q6, Q9(b), Q11(a), Q11(b), Q13(b), Q15(a), Q15(b) |
| 6 | Distribution Systems & Smart Grid | 15 |  |  | Q7, Q8, Q10(b), Q12(a), Q12(b), Q14(b), Q16(a), Q16(b) |
| Total |  | 75 | 8 | 8 | 8 |

State Board of Technical Education & Training, Telangana

MODEL QUESTION PAPERS

EE-404: ELECTRICAL POWER SYSTEMS (T&D)

MID-SEMESTER EXAMINATION I (Units 1 & 2)

Time: 1 Hour | Total Marks: 20

Instructions:

- Answer all questions in Part A

- Answer any TWO questions from Part B

- Answer any TWO questions from Part C

- Assume suitable data wherever necessary

PART A - Answer ALL Questions (4 × 1 = 4 Marks)

- Define "Sag" in overhead transmission lines.

- List any two types of transmission line conductors.

- State the need for HVDC transmission systems.

- Name any two HVDC projects in India.

PART B - Answer TWO Questions (2 × 3 = 6 Marks)

- a) Explain the "Skin Effect" in transmission lines.
OR
b) List the advantages of bundled conductors.

- a) Draw a basic block diagram of an HVDC transmission system.
OR
b) List three advantages and two disadvantages of HVDC transmission.

PART C - Answer TWO Questions (2 × 5 = 10 Marks)

- a) A single-phase transmission line has a resistance of 0.3 Ω and inductive reactance of 0.5 Ω. Calculate the sending end voltage to deliver 600 kVA at 11 kV with a power factor of 0.8 lagging.
OR
b) Explain the Ferranti effect with reasons and its impact on transmission lines.

- a) Compare monopolar, bipolar, and homopolar HVDC systems.
OR
b) Describe the protective measures used in HVDC transmission systems.

MID-SEMESTER EXAMINATION II (Units 3 & 4)

Time: 1 Hour | Total Marks: 20

Instructions:

- Answer all questions in Part A

- Answer any TWO questions from Part B

- Answer any TWO questions from Part C

- Assume suitable data wherever necessary

PART A - Answer ALL Questions (4 × 1 = 4 Marks)

- List any two requirements of line supports.

- Define "String Efficiency" of insulators.

- State any two advantages of underground cables over overhead lines.

- Name any two types of cables based on voltage rating.

PART B - Answer TWO Questions (2 × 3 = 6 Marks)

- a) List the factors affecting sag in overhead lines.
OR
b) Explain the purpose of cross arms in transmission line towers.

- a) Compare the construction of LT cables and HT cables.
OR
b) List the methods to improve dielectric stress in cables.

PART C - Answer TWO Questions (2 × 5 = 10 Marks)

- a) A suspension insulator string consists of three units. The capacitance between each link pin and earth is 15% of the self-capacitance of each unit. Calculate the voltage across each unit and the string efficiency.
OR
b) Describe different types of insulators used in transmission lines with their applications.

- a) Sketch the construction of a 3-core belted cable and label all parts. Explain the purpose of each layer.
OR
b) An underground cable has a conductor diameter of 1.5 cm and insulation thickness of 1.0 cm. If the resistivity of insulation is 5 × 10¹⁴ Ω-cm, calculate the insulation resistance per km length of the cable.

SEMESTER END EXAMINATION (All Units)

Time: 2 Hours | Total Marks: 40

Instructions:

- Answer all questions in Part A

- Answer any FOUR questions from Part B

- Answer any FOUR questions from Part C

- Assume suitable data wherever necessary

- Draw neat diagrams wherever required

PART A - Answer ALL Questions (8 × 1 = 8 Marks)

- List any two current distortion effects in transmission lines.

- Define "Regulation" of a transmission line.

- Name any two types of line supports used in transmission systems.

- State the formula for calculating sag when supports are at the same level.

- List any two equipment used in substations for protection.

- What is the purpose of lightning arrestors in substations?

- Define "Feeder" in distribution systems.

- State any one advantage of ring main distribution system.

PART B - Answer FOUR Questions (4 × 3 = 12 Marks)

- a) Classify transmission lines based on length and explain each type briefly.
OR
b) List the equipment used in a 33/11 kV substation and state one function of each.

- a) Explain the factors affecting corona loss in transmission lines.
OR
b) Compare radial and ring main distribution systems.

- a) State the purpose of busbars in substations and list their types.
OR
b) Classify cables based on voltage rating with examples.

- a) Distinguish between primary and secondary distribution systems.
OR
b) List the steps involved in calculating voltage drop in AC distributors.

PART C - Answer FOUR Questions (4 × 5 = 20 Marks)

- a) Compare AC and DC transmission systems with respect to:

  - Economic conductor size

  - Stability

  - Voltage control

  - Reliability

  - Maintenance
OR
b) Describe with neat sketches the following types of insulators:

  - Pin type insulator

  - Suspension type insulator

  - Strain type insulator

- a) Sketch the construction of a high tension cable and explain the function of each layer.
OR
b) Distinguish between feeders, distributors, and service mains with suitable diagrams.

- a) Draw a single line diagram of an 11 kV/400 V distribution substation and label all major equipment.
OR
b) A single-phase AC distributor AB is 400 meters long and fed from end A. It is loaded as follows:

  - 50 A at 0.8 p.f lagging at 100 m from A

  - 80 A at 0.9 p.f lagging at 300 m from A
The resistance and reactance of the distributor are 0.1 Ω and 0.15 Ω per km respectively. Calculate the total voltage drop in the distributor.

- a) Explain the concept of Smart Grid and compare it with conventional grid systems.
OR
b) Calculate the sag for an overhead line when:

  - Span length = 200 m

  - Weight of conductor = 0.8 kg/m

  - Working tension = 2000 kg

  - Supports are at the same level