State Board of Technical Education & Training, Telangana

Department of Technical Education

Diploma in Electrical & Electronics Engineering

C-26 Curriculum

| Course Title | Power System & Installation Lab | Course Code | EE-406 |
| --- | --- | --- | --- |
| Semester | IV Semester | Course Group | Core |
| Teaching Scheme (L:T:P) | 0:0:3 | Credits | 2 |
| Methodology | Practical | Total Contact Periods | 45 |
| CIE | 60 Marks | SEE | 40 Marks |

COURSE DESCRIPTION

This laboratory course provides hands-on experience in electrical installation practices, earthing systems, backup power systems, smart controls, renewable energy integration, and power system protection. Students will develop practical skills in wiring, testing, commissioning, and troubleshooting of electrical systems used in domestic, industrial, and utility applications. Emphasis is placed on safety standards, energy efficiency, and practical implementation of electrical installations as per Indian Standards.

PREREQUISITES

- Students should have basic knowledge of:

  - Electrical wiring tools, accessories, and safety practices

  - Domestic and industrial wiring systems

  - Basic electrical measurements (voltage, current, power, resistance)

  - Fundamentals of electrical machines and power supply systems

  - Basic concepts of power systems and protection

  - Handling of electrical instruments such as multimeter, megger, and earth tester

These prerequisites enable students to effectively perform installation, testing, and power system–related laboratory experiments.

COURSE OBJECTIVES

The course is aimed at:

- Enabling students to understand and perform electrical installation practices used in domestic and industrial applications

- Developing skills in selecting, installing, and testing electrical wiring materials, accessories, and backup power systems

- Providing hands-on experience in earthing methods and measurement of earth resistance for electrical safety

- Introducing students to smart control techniques and renewable energy–based electrical installations

- Familiarizing students with power system equipment, protection devices, and their practical operation

- Enhancing practical competency in safe, reliable, and energy-efficient electrical installations and power system practices

COURSE OUTCOMES (COs)

Upon completion of the course, the student shall be able to:

| CO No. | Course Outcome Description |
| --- | --- |
| CO1 | Identify and select appropriate electrical materials and perform domestic and industrial electrical wiring installations. |
| CO2 | Perform different earthing methods and measure earth resistance for ensuring electrical safety. |
| CO3 | Install and test backup power systems such as inverter, UPS, diesel generator, and solar power systems. |
| CO4 | Make use of smart control techniques for efficient operation of electrical appliances. |
| CO5 | Study and test power system equipment and protection schemes used in electrical installations. |

COURSE CONTENTS

NOTE:

- The course shall be conducted as a laboratory-oriented practical course.

- Emphasis shall be given to hands-on practice, proper wiring, testing, and commissioning of electrical installations.

- Electrical safety practices and relevant standards shall be strictly followed during all laboratory work.

- Students shall maintain proper lab records, wiring diagrams, and test observations as part of the course.

- Focus shall be on practical skills, troubleshooting, and real-time applications related to power systems and electrical installations.

UNIT–I: Electrical Installations & Backup Power Systems (15 Periods)

Identification and selection of electrical wiring materials and accessories – Domestic and industrial wiring practices – Wiring of essential loads through inverter – Installation and testing of UPS for computer systems – Connection and testing of Public Address (PA) system – Study and calculation of Diesel Generator (DG) set rating for laboratory and industrial loads – Safety precautions during electrical installation work.

UNIT–II: Earthing, Smart Controls & Renewable Energy Systems (15 Periods)

Need for earthing – Types of earthing – Pipe earthing and plate earthing – Measurement of earth resistance using earth tester – Motion sensor–based lighting control – Remote-controlled switching of electrical appliances – Study of solar panel types, ratings, specifications, and costs – Battery charging using solar panels through inverter – Payback period calculation for solar installations.

UNIT–III: Power System Equipment & Protection (15 Periods)

Study of current transformers (CTs) and potential transformers (PTs) – Performance testing of CTs and PTs – Study of non-directional electromechanical over-current (IDMT) relay – Plotting inverse time–current characteristics – Study of differential protection scheme for single-phase transformer – Importance of protection in power systems – Safety precautions during testing of power system equipment.

| Unit | Topic | Periods |
| --- | --- | --- |
| I | Electrical Installations & Backup Power Systems | 15 |
| II | Earthing, Smart Controls & Renewable Energy Systems | 15 |
| III | Power System Equipment & Protection | 15 |
| Total |  | 45 |

PRACTICAL EXERCISES AND EXPERIMENTS

List of Mandatory Experiments:

| Exp. No. | Experiment Name | CO Mapping | Periods |
| --- | --- | --- | --- |
| 1 | Identification and selection of electrical wiring materials and accessories | CO1 | 3 |
| 2 | Wiring of essential loads through inverter | CO1, CO3 | 3 |
| 3 | Installation and testing of UPS for computer systems | CO1, CO3 | 3 |
| 4 | Connection and testing of Public Address (PA) system | CO1 | 3 |
| 5 | Calculation of DG set rating for given loads | CO1, CO3 | 3 |
| 6 | Pipe earthing and plate earthing demonstration | CO2 | 3 |
| 7 | Measurement of earth resistance using earth tester | CO2 | 3 |
| 8 | Motion sensor–based lighting control | CO4 | 3 |
| 9 | Remote-controlled switching of appliances | CO4 | 3 |
| 10 | Solar panel battery charging through inverter | CO3 | 3 |
| 11 | Study and testing of Current Transformers (CTs) & Potential Transformers (PTs) | CO5 | 3 |
| 12 | Plotting time-current characteristics of IDMT relay | CO5 | 3 |
| 13 | Differential protection scheme for single-phase transformer | CO5 | 3 |
| Total |  |  | 39 |
| Buffer/Revision |  |  | 6 |
| Grand Total |  |  | 45 |

ASSESSMENT PATTERN

Continuous Internal Evaluation (CIE): 60 MARKS

- Lab Records & Performance: 30 Marks

- Mini Project: 15 Marks

- Viva Voce/Quiz: 15 Marks

Total CIE: 60 Marks

Semester End Examination (SEE): 40 MARKS

- Practical Implementation: 25 Marks

- Viva Voce: 10 Marks

- Lab Record Check: 5 Marks

Total SEE: 40 Marks

Assessment Criteria for Practical Work

Laboratory Record Evaluation (30 Marks):

- Circuit Diagrams: Neatness and accuracy (5 Marks)

- Observations: Proper tabulation and units (10 Marks)

- Calculations: Correct formulas and computations (10 Marks)

- Graphs/Results: Appropriate plotting and conclusions (5 Marks)

Practical Performance (30 Marks):

- Setup: Correct circuit connections (10 Marks)

- Procedure: Proper following of steps (10 Marks)

- Safety & Measurements: Adherence to safety and accurate readings (10 Marks)

Viva Voce/Quiz (15 Marks):

- Concept Understanding: Theoretical knowledge (5 Marks)

- Application: Practical application of concepts (5 Marks)

- Safety Awareness: Knowledge of safety procedures (5 Marks)

BLUEPRINT OF MARKS FOR SEE

| Course Name | Periods | Circuit & Procedure | Execution | Viva | Marks | % Weightage |
| --- | --- | --- | --- | --- | --- | --- |
| Power System & Installation Lab | 45 | 20 | 10 | 10 | 40 | 100 |

SUGGESTED MINI PROJECTS

- Domestic Electrical Installation with Inverter Backup – Design and implement a domestic wiring system with essential loads connected through an inverter for uninterrupted power supply.

- UPS-Based Computer Power Supply System – Installation and testing of a UPS system for computer peripherals with safety protection.

- Earthing System for Residential Building – Design and demonstration of pipe or plate earthing system and measurement of earth resistance.

- Solar-Based Lighting System – Design and installation of a solar panel–based lighting system with battery charging and inverter arrangement.

- Smart Lighting Control System – Implementation of automatic lighting control using motion sensor or remote-controlled switching.

- Load Estimation and DG Set Selection – Estimation of electrical load for a small laboratory and selection of a suitable diesel generator set.

- Transformer Protection Scheme Model – Demonstration of differential protection scheme for a single-phase transformer using protective relays.

- Over-Current Protection Using IDMT Relay – Study and testing of non-directional IDMT over-current relay and plotting of time–current characteristics.

LABORATORY REQUIREMENTS AND EQUIPMENT

Essential Equipment:

- Wiring & Installation:

  - Single-phase inverter (500VA–1kVA) – 2 sets

  - UPS (600VA–1kVA) – 2 sets

  - Diesel Generator set (small scale demo model) – 1 set

  - Solar panel kit with charge controller and battery – 2 sets

  - Public Address system components – 1 set

  - Wiring tools (pliers, screwdrivers, wire strippers) – 6 sets

  - MCBs, isolators, contactors, relays – sufficient quantity

- Earthing & Testing:

  - Pipe earthing setup – 2 sets

  - Plate earthing setup – 2 sets

  - Earth tester (Megger type) – 2 nos.

  - Insulation tester – 2 nos.

- Smart Control & Automation:

  - Motion sensor modules – 4 nos.

  - Remote control switches with receivers – 4 sets

  - Timer relays and programmable logic controllers (basic) – 2 sets

- Power System Protection:

  - Current Transformers (CTs) – 4 nos.

  - Potential Transformers (PTs) – 4 nos.

  - IDMT over-current relay – 2 nos.

  - Differential relay setup for transformer – 2 sets

  - Single-phase transformer (230V/115V) – 2 nos.

- Measuring Instruments:

  - Digital multimeters – 6 nos.

  - Clamp meters – 4 nos.

  - Digital voltmeters and ammeters (AC) – 8 nos.

  - Wattmeters (single-phase) – 4 nos.

  - Power factor meters – 2 nos.

- Safety Equipment:

  - Insulated gloves – 6 pairs

  - Safety goggles – 12 nos.

  - Fire extinguishers (CO₂ type) – 2 nos.

  - First aid kit – 1 no.

  - Insulated mats – 4 nos.

SAFETY PRECAUTIONS

Mandatory Safety Guidelines:

- Personal Protection:

  - Always wear safety shoes in the laboratory

  - Use insulated gloves when working on live circuits

  - Wear laboratory coat and safety goggles

  - Remove loose clothing and jewelry during practical work

- Electrical Safety:

  - Verify circuit is de-energized before making connections

  - Use properly rated instruments and cables

  - Ensure proper earthing of all equipment

  - Never work alone in the laboratory

- Equipment Safety:

  - Check equipment ratings before connection

  - Do not overload any equipment beyond nameplate ratings

  - Ensure proper ventilation for operating equipment

  - Report damaged equipment immediately

- Operational Safety:

  - Follow step-by-step procedures for each experiment

  - Keep work area clean and organized

  - Know emergency procedures and location of fire extinguishers

  - Always work under instructor supervision

SPECIFIC LEARNING OUTCOMES

UNIT–I: Electrical Installations & Backup Power Systems

1.1 Identify electrical wiring materials and accessories used in domestic and industrial installations.
1.2 Perform wiring of essential loads through an inverter for uninterrupted power supply.
1.3 Install and test UPS systems for computer and office equipment.
1.4 Connect and test a public address (PA) system.
1.5 Estimate electrical load for laboratories and workshops.
1.6 Calculate the rating of a diesel generator set for given load conditions.
1.7 Follow electrical safety rules during installation and testing work.
1.8 Prepare simple wiring diagrams for installation practices.
1.9 Identify faults in basic electrical installations.
1.10 Demonstrate proper testing and commissioning of installed systems.

UNIT–II: Earthing, Smart Controls & Renewable Energy Systems

2.1 Explain the need for earthing in electrical installations.
2.2 Demonstrate pipe earthing and plate earthing methods.
2.3 Measure earth resistance using earth testing equipment.
2.4 Identify safety precautions related to earthing systems.
2.5 Demonstrate automatic lighting control using motion sensors.
2.6 Perform remote-controlled switching of electrical appliances.
2.7 Identify types, ratings, and specifications of solar panels.
2.8 Install a solar panel–based battery charging system through an inverter.
2.9 Calculate the payback period for a solar power installation.
2.10 Apply energy-efficient and renewable solutions in electrical installations.

UNIT–III: Power System Equipment & Protection

3.1 Identify constructional features of current transformers (CTs) and potential transformers (PTs).
3.2 Test and study the performance of CTs and PTs.
3.3 Explain the need for protection in power systems.
3.4 Study the operation of non-directional over-current (IDMT) relay.
3.5 Plot inverse time–current characteristics of an IDMT relay.
3.6 Identify faults occurring in power system equipment.
3.7 Explain the principle of differential protection of transformers.
3.8 Demonstrate differential protection scheme for a single-phase transformer.
3.9 Follow safety precautions while working with power system protection equipment.
3.10 Record observations and interpret test results of power system experiments.

CO–PO MATRIX

| CO | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | Strength of Correlation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | 2 | 3 | 1 | 1 | 1 | 3-2-2-3-1 |
| CO2 | 3 | 2 | 1 | 3 | 2 | 1 | 1 | 3-2-1-3-2 |
| CO3 | 3 | 2 | 3 | 3 | 2 | 2 | 1 | 3-2-3-3-2 |
| CO4 | 2 | 1 | 2 | 3 | 2 | 1 | 1 | 2-1-2-3-2 |
| CO5 | 3 | 3 | 2 | 3 | 3 | 1 | 1 | 3-3-2-3-3 |

Mapping Scale:
3 = High Correlation
2 = Medium Correlation
1 = Low Correlation

- = No Correlation

REFERENCE BOOKS

- Electrical Power Systems – C. L. Wadhwa, New Age International Publishers

- Power System Protection and Switchgear – Badri Ram & D. N. Vishwakarma, McGraw-Hill Education

- Electrical Installation Work – K. B. Reddy, Universities Press

- Electrical Wiring Estimating and Costing – J. B. Gupta, S. K. Kataria & Sons

- Handbook on Electrical Wiring – Bureau of Indian Standards

- Renewable Energy Systems – Chetan Singh Solanki, Pearson Education

- Protection and Switchgear – Bhavesh Bhalja, R. P. Maheshwari, Nilesh Chothani, Oxford University Press

ONLINE RESOURCES & E-LEARNING REFERENCES

NPTEL COURSES:

- Power System Protection – NPTEL
Link: https://nptel.ac.in/courses/108/105/108105102/

- Renewable Energy Engineering – NPTEL
Link: https://nptel.ac.in/courses/112/105/112105249/

EDUCATIONAL PORTALS:

- Electrical Engineering Portal – Practical electrical engineering resources
Link: https://electrical-engineering-portal.com/

- Circuit Globe – Electrical engineering articles and tutorials
Link: https://circuitglobe.com/

- All About Circuits – Textbooks and forums
Link: https://www.allaboutcircuits.com/

STANDARDS & REGULATIONS:

- Bureau of Indian Standards (BIS) – IS Codes for electrical installations
Link: https://www.services.bis.gov.in/

- Central Electricity Authority (CEA) – Regulations and standards
Link: https://cea.nic.in/

SIMULATION TOOLS:

- ETAP – Electrical power system simulation software
Link: https://etap.com/

- MATLAB/Simulink – Power system simulation toolbox
Link: https://www.mathworks.com/products/simscape-electrical.html

LAB MANUALS & PRACTICAL GUIDES

- Lab Manual for Electrical Installation and Estimating – Technical Publication

- Experimental Procedures for Power Systems – SBTET Telangana

- IS 3043: Code of Practice for Earthing – Bureau of Indian Standards

- IS 732: Code of Practice for Electrical Wiring Installations – Bureau of Indian Standards

- IEEE Standard 142: Grounding of Industrial and Commercial Power Systems

SUGGESTED STUDENT ACTIVITIES

1. Pre-Laboratory Preparation Activities

1.1 Prepare pre-lab reports including wiring diagrams and safety checklist
1.2 Study relevant IS standards before practical sessions
1.3 Watch video demonstrations of electrical installations and testing procedures

2. Laboratory Enhancement Activities

2.1 Maintain a detailed laboratory journal with:
- Date and experiment title
- Circuit and wiring diagrams
- Tabulated observations with units
- Sample calculations
- Safety precautions followed
- Conclusions and learning points

2.2 Create comparison charts for:
- Different earthing methods
- Various backup power systems
- Smart control techniques
- Protection schemes

3. Field Visits & Industrial Exposure

3.1 Visit electrical substation and document:
- Transformer protection systems
- Earthing arrangements
- Switchgear and protection devices

3.2 Tour solar power installation site and report on:
- System components and ratings
- Installation practices
- Maintenance procedures

4. Creative Learning Activities

4.1 Design and build working models demonstrating:
- Smart home automation system
- Solar-powered charging station
- Miniature protection relay setup

4.2 Create educational posters on:
- Electrical safety rules
- Renewable energy systems
- Protection relay characteristics

PERFORMANCE INDICATORS FOR ASSESSMENT

For Each Experiment, Students Should Demonstrate:

- Preparation: Understanding of theoretical background before practical

- Setup: Correct assembly of circuits and equipment

- Procedure: Proper following of experimental steps

- Measurement: Accurate reading and recording of data

- Calculation: Correct application of formulas and computations

- Analysis: Appropriate interpretation of results

- Safety: Adherence to all safety guidelines

- Cleanup: Proper maintenance of equipment after use

Model Question Papers

Mid-Semester – I Examination

Course Code: EE-406
Course Name: Power System & Installation Lab
Duration: 1 Hour
Max. Marks: 20

Instructions:

- Answer the allotted experiment only

- Draw neat wiring/circuit diagrams

- Record observations properly

- Follow all safety precautions

Experiments (Anyone will be allotted):

- Perform wiring of essential loads through an inverter for uninterrupted power supply.

- Install and test a UPS system for computer peripherals (CPU, Monitor, Printer).

- Connect and test a Public Address (PA) system.

- Estimate the electrical load and calculate the rating of a Diesel Generator set for a laboratory/workshop.

Mid-Semester – II Examination

Course Code: EE-406
Course Name: Power System & Installation Lab
Duration: 1 Hour
Max. Marks: 20

Instructions:

- Answer the allotted experiment only

- Record observations and results properly

- Follow electrical safety practices

Experiments (Anyone will be allotted):

- Demonstrate pipe earthing and explain its construction.

- Demonstrate plate earthing and explain its construction.

- Measure earth resistance using earth tester.

- Demonstrate automatic lighting control using motion sensor or remote-controlled switching.

End (Semester End) Examination

Course Code: EE-406
Course Name: Power System & Installation Lab
Duration: 2 Hours
Max. Marks: 40

Instructions:

- Answer the allotted experiment only

- Draw neat diagrams and record observations

- Follow standard electrical safety rules

Experiments (Anyone will be allotted):

- Perform wiring of essential loads through inverter/UPS and test the system.

- Demonstrate pipe or plate earthing and measure earth resistance.

- Install a solar panel–based battery charging system through inverter and calculate payback period.

- Study the performance of current transformer (CT) and potential transformer (PT).

- Study the operation of non-directional IDMT over-current relay and plot time–current characteristics.

- Demonstrate differential protection scheme for a single-phase transformer.

- Estimate laboratory load and calculate Diesel Generator set rating.

INTEGRATED LEARNING OUTCOMES

By the end of the course, students should be able to:

- Design and execute safe electrical installations for domestic and industrial applications

- Test and commission backup power systems and renewable energy installations

- Apply protection schemes for electrical equipment safety

- Implement smart and energy-efficient control strategies

- Troubleshoot common problems in electrical installations

- Document and present technical reports professionally

- Adhere to safety standards and regulations in all electrical work

| Activity Category | Evaluation Parameters | Weightage |
| --- | --- | --- |
| Laboratory Work | Accuracy, Neatness, Timeliness | 40% |
| Reports & Documentation | Content, Organization, Analysis | 25% |
| Presentations & Discussions | Clarity, Knowledge, Engagement | 20% |
| Creative Projects | Innovation, Practicality, Presentation | 15% |

EVALUATION CRITERIA FOR STUDENT ACTIVITIES

Total Contact Periods: 45

Note: Each practical session should be conducted under the direct supervision of qualified laboratory instructors. Students must complete all mandatory experiments and maintain a laboratory journal that will be evaluated periodically throughout the semester.

Note on Periods Distribution: The allocation provides comprehensive coverage of electrical installations (15 periods), earthing and smart systems (15 periods), and power system protection (15 periods). This balance reflects industry requirements where installation, safety, and protection skills are equally important for electrical technicians.