State Board of Technical Education & Training, Telangana

Department of Technical Education

Diploma in Electrical & Electronics Engineering

C-26 Curriculum

| Course Title | AC Machines-I Lab | Course Code | EE-408 |
| --- | --- | --- | --- |
| Semester | IV Semester | Course Group | Core |
| Teaching Scheme (L:T:P) | 0:0:3 | Credits | 2 |
| Methodology | Practical Experiments | Total Contact Periods | 45 |
| CIE | 60 Marks | SEE | 40 Marks |

COURSE DESCRIPTION

This laboratory course provides hands-on experience with transformers and induction motors. Students will conduct performance tests, analyze characteristics, and understand practical aspects of AC machines including single-phase and three-phase transformers, and induction motors.

PREREQUISITES

- Basic knowledge of AC circuit theory

- Understanding of electromagnetic principles

- Familiarity with electrical measurement instruments

COURSE OBJECTIVES

1. To develop practical skills in testing transformers and induction motors

2. To understand performance characteristics through hands-on experiments

3. To learn proper safety procedures when working with electrical machines

4. To interpret experimental data and draw meaningful conclusions

COURSE OUTCOMES (COs)

Upon completion of the course, the student shall be able to:

| CO No | Course Outcome |
| --- | --- |
| CO1 | Evaluate performance of single-phase transformers through various tests |
| CO2 | Analyze voltage-current relationships in different transformer configurations |
| CO3 | Identify and troubleshoot AC motor starters |
| CO4 | Determine performance characteristics of three-phase induction motors |

DETAILED COURSE CONTENTS

UNIT–I: Performance Testing of Single-Phase Transformers (15 Periods)

Introduction to single-phase transformers – Construction and working principle – Nameplate data interpretation – Transformer windings and terminals – Turns ratio concept.

Open Circuit (O.C.) Test – Purpose and procedure – Measurement of no-load current and voltage – Calculation of core loss components – Determination of magnetizing parameters.

Short Circuit (S.C.) Test – Purpose and procedure – Measurement of short-circuit current and voltage – Calculation of copper losses – Determination of equivalent impedance and resistance.

Load Test – Setup and procedure – Measurement of efficiency at various loads – Voltage regulation determination – Performance curve plotting (efficiency vs. load, regulation vs. load).

Sumpner’s (Back-to-Back) Test – Purpose and advantages – Connection diagram – Procedure for conducting test – Calculation of full-load losses without actual loading.

UNIT–II: Transformer Configurations And Parallel Operation (15 Periods)

Parallel operation of single-phase transformers – Necessity and conditions – Equal voltage ratio requirement – Equal percentage impedance – Same polarity connections – Load sharing analysis.

Three-phase transformer connections – Y-Y configuration: Voltage and current relationships – Y-Δ configuration: Phase shift and transformation ratio – Δ-Y configuration: Applications and characteristics – Δ-Δ configuration: Advantages and limitations.

Voltage and current relationships – Phase voltage vs. line voltage – Phase current vs. line current – √3 factor in three-phase systems – Vector diagrams for different connections.

Three-phase transformer testing – Connection verification – Phase sequence checking – Measurement techniques for different configurations – Performance comparison of various connections.

UNIT–III: AC Motor Starters and Troubleshooting (8 Periods)

Direct-On-Line (DOL) Starter – Construction and working principle – Components: Contactor, overload relay, push buttons – Wiring diagram and connections – Testing and fault identification.

Star-Delta Starter – Need for reduced voltage starting – Manual star-delta starter: Construction and operation – Automatic star-delta starter: Timer control and contactor arrangement – Testing procedures and fault diagnosis.

Autotransformer Starter – Principle of operation – Tapping points and voltage selection – Construction details – Testing and troubleshooting.

Starter maintenance and troubleshooting – Common faults in starters – Testing procedures for components – Safety precautions during testing – Remedial measures for identified faults.

UNIT–IV: Performance Characteristics Of Three-Phase Induction Motors (7 Periods)

Three-Phase squirrel cage induction motor – Construction features – Performance characteristics – Brake test setup and procedure – Torque measurement techniques.

Three-phase slip ring induction motor – Construction differences from squirrel cage – External rotor resistance – Effect on starting torque and speed control – Performance characteristics.

Brake test procedure – Loading arrangement – Measurement of input power, current, speed – Calculation of output power, torque, efficiency – Power factor determination.

Performance curves – Torque vs. speed characteristics – Current vs. speed – Efficiency vs. load – Power factor vs. load – Interpretation of characteristic curves.

| Unit | Topic | Periods |
| --- | --- | --- |
| I | Performance Testing of Single-Phase Transformers | 15 |
| II | Transformer Configurations and Parallel Operation | 15 |
| III | AC Motor Starters and Troubleshooting | 8 |
| IV | Performance Characteristics of Three-Phase Induction Motors | 7 |
| Total |  | 45 |

PRACTICAL EXERCISES AND EXPERIMENTS

List of Mandatory Experiments:

- Experiment 1: Identification of transformer terminals and turn ratio determination

- Experiment 2: Open Circuit and Short Circuit tests on single-phase transformer

- Experiment 3: Load test on single-phase transformer for efficiency and regulation

- Experiment 4: Sumpner’s test on two identical single-phase transformers

- Experiment 5: Parallel operation of single-phase transformers

- Experiment 6: Y-Y and Y-Δ connections of three-phase transformer

- Experiment 7: Δ-Y and Δ-Δ connections of three-phase transformer

- Experiment 8: Study and testing of DOL starter

- Experiment 9: Study and testing of manual star-delta starter

- Experiment 10: Study and testing of autotransformer starter

- Experiment 11: Brake test on three-phase squirrel cage induction motor

- Experiment 12: Brake test on three-phase slip ring induction motor

| CO | Description | Periods |
| --- | --- | --- |
| CO1 | Evaluate the performance of single-phase transformer by conducting suitable tests. | 10 |
| CO2 | Determine the relationship between Voltages and Currents of different types of Transformers | 15 |
| CO3 | Identify the parts of A.C motor starters | 10 |
| CO4 | Draw and interpret the performance characteristics of three phase AC Motors by Conducting load test. | 10 |
|  | Total | 45 |

ASSESSMENT PATTERN

CONTINUOUS INTERNAL EVALUATION (CIE): 60 MARKS

- Lab Records & Performance: 30 Marks

- Mini Project: 15 Marks

*Example topics: Design and testing of a small transformer, Comparative study of motor starters, Performance analysis report of industrial AC machines, Simulation-based project on AC machines

- Viva Voce/Quiz: 15 Marks

Total CIE  60 Marks

SEMESTER END EXAMINATION (SEE): 40 MARKS

- Practical Implementation: 25 Marks

- Viva Voce: 10 Marks

- Lab Record Check: 5 Marks

Total SEE 40Marks

ASSESSMENT CRITERIA FOR PRACTICAL WORK

Laboratory Record Evaluation (30 Marks):

- Circuit Diagrams: Neatness and accuracy (5 Marks)

- Observations: Proper tabulation and units (10 Marks)

- Calculations: Correct formulas and computations (10 Marks)

- Graphs/Results: Appropriate plotting and conclusions (5 Marks)

Practical Performance (30 Marks):

- Setup: Correct circuit connections (10 Marks)

- Procedure: Proper following of steps (10 Marks)

- Measurements: Accurate reading and recording (10 Marks)

Viva Voce/Quiz (15 Marks):

- Concept Understanding: Theoretical knowledge (5 Marks)

- Application: Practical application of concepts (5 Marks)

- Safety Awareness: Knowledge of safety procedures (5 Marks)

Blueprint of Marks for SEE

| S.No | Course Name | Hours/ | Marks for SEE |  |  | Marks | %Weightage |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Periods |  |  |  | weightage |  |
|  |  |  | Circuit & Procedure | Execution | Viva |  |  |
| 1 | AC Machines-I Lab (Transformers & Induction Motors) | 45 | 20 | 10 | 10 | 40 | 100 |
|  | Total | 45 | 40 |  |  | 40 | 100 |

REFERENCE BOOKS

- B.L. Theraja – Electrical Technology (Vol. II) – S. Chand & Co.

- M.G. Say – Performance and Design of AC Machines – Pitman Publishing

- P.S. Bhimbra – Electrical Machines – Khanna Publishers

- A.E. Fitzgerald, C. Kingsley, S. Umans – Electric Machinery – McGraw-Hill

- B.R. Gupta & Vandana Singhal – Fundamentals of Electric Machines – New Age International

- J.B. Gupta – Electrical Machines – S.K. Kataria & Sons

- H. Cotton – Advanced Electrical Technology – Isaac Pitman & Sons

- I.J. Nagrath & D.P. Kothari – Electrical Machines – Tata McGraw-Hill

- S.K. Bhattacharya – Electrical Machines – Pearson Education

- R.K. Rajput – Electrical Machines – Laxmi Publications

ONLINE RESOURCES & E-LEARNING REFERENCES

NPTEL COURSES:

- Electrical Machines – I – NPTEL
Link: https://nptel.ac.in/courses/108/105/108105100/

- Transformers and Induction Machines – NPTEL
Link: https://nptel.ac.in/courses/108/106/108106098/

EDUCATIONAL PORTALS:

- Electrical4U – Transformers & Induction Motors
Link: https://www.electrical4u.com/

- MIT OpenCourseWare – Electric Machines
Link: https://ocw.mit.edu/courses/electrical-engineering-and-computer-science/

- Khan Academy – Electrical Engineering
Link: https://www.khanacademy.org/science/electrical-engineering

Manufacturer Resources:

- Siemens – Technical Documentation
Link: https://www.siemens.com/global/en/products/energy.html

- ABB – Motor and Transformer Guides
Link: https://new.abb.com/motors-generators

- Schneider Electric – Learning Center
Link: https://www.se.com/in/en/work/support/learning-center/

Simulation Tools:

- MATLAB/Simulink – Electrical Machines Toolbox
Link: https://www.mathworks.com/products/simscape-electrical.html

- FEMM – Finite Element Method Magnetics (Free Software)
Link: http://www.femm.info/wiki/HomePage

YOUTUBE CHANNELS:

- Engineering Mindset – Electrical Machines Playlist
Link: https://www.youtube.com/c/TheEngineeringMindset

- NPTEL Lectures on Electrical Machines – YouTube
Link: https://www.youtube.com/results?search_query=nptel+electrical+machines

Interactive Learning:

- Circuit Globe – Electrical Engineering Articles
Link: https://circuitglobe.com/

- All About Circuits – Textbook & Forums
Link: https://www.allaboutcircuits.com/textbook/

- IEEE Xplore – Technical Papers (Institutional Access Required)
Link: https://ieeexplore.ieee.org/Xplore/home.jsp

VIRTUAL LABORATORY & SIMULATION TOOLS

- OLabs (Online Labs) – Transformer and motor simulations
Link: https://www.olabs.edu.in/

- PhET Interactive Simulations (University of Colorado) – Electrical machines basics
Link: https://phet.colorado.edu/en/simulations/filter?subjects=physics&type=html,prototype

- NI LabVIEW & Multisim – Circuit and machine simulation
Link: https://www.ni.com/en-in/shop/labview.html

- Falstad Circuit Simulator – Interactive AC circuits
Link: https://www.falstad.com/circuit/

- Simulink (MATLAB) – Electrical Machines Demo
Link: https://www.mathworks.com/products/simulink.html

JOURNALS & MAGAZINES

- IEEE Transactions on Energy Conversion

- IET Electric Power Applications

- Electrical India Magazine

- EC&M (Electrical Construction & Maintenance)

- Electrical Review

LAB MANUALS & PRACTICAL GUIDES

- Lab Manual for Electrical Machines – Technical Publication

- Experimental Procedures for AC Machines – SBTET Telangana

- IS Standards for Electrical Machines Testing – Bureau of Indian Standards

- IEEE Standard 112 – Test Procedure for Polyphase Induction Motors

MOBILE APPLICATIONS

- ElectroDroid – Electrical engineering tools and references

- Electrical Calculations – Calculator for motor and transformer parameters

- EveryCircuit – Circuit simulation and visualization

- Engineering Hub – Electrical engineering formulas and tables

SUGGESTED LEARNING OUTCOMES

CO1: Evaluate the performance of single-phase transformer by conducting suitable tests

1.1 Identify primary and secondary windings of a single-phase transformer
1.2 Determine the transformation ratio using voltmeter method
1.3 Conduct Open Circuit (O.C.) test and calculate core losses
1.4 Conduct Short Circuit (S.C.) test and determine copper losses
1.5 Draw the equivalent circuit of a transformer from test data
1.6 Calculate efficiency of a transformer at different loads and power factors
1.7 Determine voltage regulation from load test results
1.8 Conduct Sumpner’s test and compare results with separate O.C. and S.C. tests
1.9 Plot efficiency vs. load and regulation vs. load characteristics
1.10 Interpret nameplate data and compare with experimental results

CO2: Determine the relationship between Voltages and Currents of different types of Transformers

2.1 Connect two single-phase transformers in parallel with correct polarity
2.2 Analyze load sharing between parallel-connected transformers
2.3 Configure three single-phase transformers in Y-Y connection
2.4 Measure and verify √3 relationship between phase and line quantities in Y-Y connection
2.5 Configure transformers in Y-Δ connection and measure phase shift
2.6 Set up Δ-Y connection and verify voltage transformation ratio
2.7 Assemble Δ-Δ connection and analyze its advantages
2.8 Draw phasor diagrams for different three-phase transformer connections
2.9 Compare phase and line voltages/currents in all four configurations
2.10 Troubleshoot incorrect connections in three-phase transformer setups

CO3: Identify the parts of A.C motor starters

3.1 Identify all components of a DOL starter (contactor, overload relay, push buttons)
3.2 Draw wiring diagram of a DOL starter from physical observation
3.3 Test continuity of DOL starter components using multimeter
3.4 Identify components of manual star-delta starter
3.5 Trace the wiring and switching sequence in star-delta starter
3.6 Identify timer, contactors, and overload relay in automatic star-delta starter
3.7 Examine autotransformer starter components and tapping points
3.8 Troubleshoot common faults in starters (burnt contacts, coil failure, timer issues)
3.9 Suggest remedies for identified faults in motor starters
3.10 Compare starting characteristics of different starter types

CO4: Draw and interpret the performance characteristics of three phase AC Motors by Conducting load test

4.1 Set up brake test arrangement for three-phase induction motor
4.2 Measure input power, current, and voltage at various loads
4.3 Measure speed and calculate slip percentage
4.4 Calculate output torque using brake drum measurements
4.5 Compute efficiency and power factor at different load points
4.6 Plot torque-speed characteristics of squirrel cage induction motor
4.7 Plot current vs. load and efficiency vs. load curves
4.8 Conduct brake test on slip ring induction motor
4.9 Study effect of external rotor resistance on starting torque
4.10 Compare performance characteristics of squirrel cage and slip ring motors

EVALUATION CRITERIA FOR STUDENT ACTIVITIES

| Activity Category | Evaluation Parameters | Weightage |
| --- | --- | --- |
| Laboratory Work | Accuracy, Neatness, Timeliness | 40% |
| Reports & Documentation | Content, Organization, Analysis | 25% |
| Presentations & Discussions | Clarity, Knowledge, Engagement | 20% |
| Creative Projects | Innovation, Practicality, Presentation | 15% |

CO-PO MAPPING TABLE

| CO | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | Strength of Correlation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | 1 | 3 | 1 | 1 | 2 | 3-1-1-2-1 |
| CO2 | 3 | 2 | 2 | 3 | 1 | 1 | 2 | 3-2-2-2-1 |
| CO3 | 2 | 2 | 2 | 3 | 1 | 1 | 2 | 2-2-2-3-1 |
| CO4 | 2 | 2 | 2 | 3 | 1 | 1 | 2 | 2-2-2-3-1 |

Mapping Scale:
3 = High Correlation
2 = Medium Correlation
1 = Low Correlation

- = No Correlation

ASSESSMENT METHODS FOR CO-PO ATTAINMENT

- Direct Assessment:

  - Laboratory performance evaluation (PO1, PO4)

  - Experiment reports and calculations (PO1, PO2)

  - Practical examination (PO3, PO4)

  - Viva voce (PO7)

- Indirect Assessment:

  - Student feedback surveys

  - Course end surveys

  - Alumni feedback

  - Employer feedback (for graduated students)

State Board of Technical Education & Training, Telangana

Model Question Paper

Diploma In Electrical & Electronics Engineering

Mid-Semester Examination – I

Course Code: EE-408
Course Name: AC Machines-I Lab
Semester: IV
Duration: 2 Hours
Maximum Marks: 20

Instructions To Candidates:

- Answer the allotted experiment only

- Draw neat circuit diagrams using appropriate symbols

- Record all observations in the provided tabular format

- Perform calculations showing all steps

- Use graph paper for plotting characteristics if required

- Conclude your observations with technical reasoning

- Follow all safety precautions during the experiment

Experiments (Anyone Will Be Allotted):

Experiment 1: Open Circuit and Short Circuit Tests on Single-Phase Transformer

Aim: To determine the efficiency and regulation of a single-phase transformer at various loads and power factors.

Procedure:

- Identify primary and secondary windings of the given transformer

- Conduct Open Circuit Test:

  - Connect LV side to supply through ammeter, voltmeter, and wattmeter

  - Keep HV side open

  - Apply rated voltage and record no-load current, voltage, and power

- Conduct Short Circuit Test:

  - Short circuit HV side through ammeter

  - Apply reduced voltage to LV side till rated current flows

  - Record voltage, current, and power

- From test results:
a) Draw the equivalent circuit of the transformer
b) Calculate efficiency at:

  - Full load, 0.8 pf lagging

  - Half load, unity pf

  - 25% load, 0.9 pf leading
c) Find the load at which maximum efficiency occurs
d) Calculate voltage regulation at full load, 0.8 pf lagging

Expected Observations: Tabulate readings with proper units.

Experiment 2: Load Test on Single-Phase Transformer

Aim: To determine efficiency and regulation of a single-phase transformer by direct loading method.

Procedure:

- Connect the transformer with suitable loading arrangement

- Apply rated voltage to primary

- Vary the load in steps from no-load to 125% of full load

- At each load point, measure:

  - Primary voltage (V₁) and current (I₁)

  - Secondary voltage (V₂) and current (I₂)

  - Input power (W₁) and output power (W₂)

- Calculate for each reading:
a) Efficiency = (Output Power / Input Power) × 100%
b) Regulation = [(V₂₀ - V₂) / V₂₀] × 100% where V₂₀ is no-load secondary voltage

- Plot:
a) Efficiency vs. Load
b) Regulation vs. Load
c) Voltage vs. Load

Expected Observations: Record minimum 8 readings with calculations.

EVALUATION CRITERIA:

| Component | Marks |
| --- | --- |
| Circuit Diagram & Setup | 5 |
| Procedure Execution | 5 |
| Observations & Calculations | 6 |
| Graphs & Conclusions | 4 |
| Total | 20 |

Mid-Semester Examination – II

Course Code: EE-408
Course Name: AC Machines-I Lab  
Semester: IV
Duration: 2 Hours
Maximum Marks: 20

Instructions To Candidates:

- Answer the allotted experiment only

- Draw connection diagrams clearly showing all phases

- Verify connections before switching on supply

- Record phase and line quantities separately

- Show sample calculations for all relationships

- Draw phasor diagrams where applicable

- Follow three-phase safety procedures

Experiments (Anyone Will Be Allotted):

Experiment 3: Three-Phase Transformer Connections – Y-Δ And Δ-Y

Aim: To study voltage and current relationships in Y-Δ and Δ-Y three-phase transformer connections.

Procedure:

- For Y-Δ Connection:

  - Connect primary in Star (Y)

  - Connect secondary in Delta (Δ)

  - Apply balanced three-phase supply to primary

  - Measure:

    - Primary: Line voltage (V_L1), Phase voltage (V_ph1), Line current (I_L1)

    - Secondary: Line voltage (V_L2), Phase voltage (V_ph2), Line current (I_L2)

  - Verify: V_L1/√3 = V_ph1 and I_L2/√3 = I_ph2

- For Δ-Y Connection:

  - Connect primary in Delta (Δ)

  - Connect secondary in Star (Y)

  - Apply balanced three-phase supply

  - Measure all line and phase quantities

  - Verify: I_L1/√3 = I_ph1 and V_L2/√3 = V_ph2

- For both connections:
a) Calculate transformation ratios
b) Draw phasor diagrams
c) Compare theoretical and experimental values
d) List applications of each connection

Expected Observations: Two separate tables for Y-Δ and Δ-Y connections.

Experiment 4: Parallel Operation of Single-Phase Transformers

Aim: To connect two identical single-phase transformers in parallel and analyze load sharing.

Procedure:

- Conduct polarity test on both transformers

- Verify both transformers have:
a) Same voltage ratio
b) Same percentage impedance (approximately)
c) Same polarity

- Connect transformers in parallel with proper polarity

- Apply load in steps (0%, 25%, 50%, 75%, 100% of combined rating)

- At each load, measure:
a) Total load current (I_T)
b) Individual transformer currents (I₁, I₂)
c) Individual transformer powers (P₁, P₂)
d) Output voltage (V_out)

- Calculate:
a) Load sharing percentage for each transformer
b) Efficiency of combined system
c) Circulating current (if any)

- Analyze:
a) Ideal vs. actual load sharing
b) Effect of unequal impedances
c) Advantages of parallel operation

Expected Observations: Tabulate 5 load points with all measurements.

EVALUATION CRITERIA:

| Component | Marks |
| --- | --- |
| Circuit Diagram & Setup | 5 |
| Procedure Execution | 5 |
| Observations & Calculations | 6 |
| Graphs & Conclusions | 4 |
| Total | 20 |

Semester End Examination (SEE)

Course Code: EE-408
Course Name: AC Machines-I Lab 
Semester: IV
Duration: 3 Hours
Maximum Marks: 40

Instructions To Candidates:

- Answer the allotted experiment only

- Complete ALL parts of the experiment

- Draw ALL required diagrams

- Show ALL calculations step-by-step

- Plot ALL graphs on graph paper

- Provide comprehensive conclusions

- Maintain strict safety protocols

Experiments (Anyone Will Be Allotted):

Experiment 5: Complete Transformer Testing And Analysis

Aim: To conduct comprehensive testing on a single-phase transformer and analyze its performance characteristics.

Procedure:
Part A: Basic Tests (30 minutes)

- Identify transformer terminals and determine turns ratio

- Conduct polarity test

Part B: Performance Tests (90 minutes)

- Open Circuit Test:

  - Setup and connections

  - Measurements and calculations

  - Determine core loss parameters (R₀, X₀)

- Short Circuit Test:

  - Setup and connections

  - Measurements and calculations

  - Determine copper loss parameters (R₀₁, X₀₁)

- From O.C. and S.C. test results:
a) Draw complete equivalent circuit
b) Calculate efficiency at:

  - Full load, 0.8 pf lagging

  - ¾ load, unity pf

  - ½ load, 0.9 pf leading
c) Calculate voltage regulation at full load, 0.8 pf lagging
d) Determine load for maximum efficiency

Part C: Verification Test (30 minutes)

- Conduct actual load test at one point

- Compare with calculated values

- Analyze discrepancies

Part D: Documentation (30 minutes)

- Prepare complete report with:
a) All circuit diagrams
b) Observation tables
c) Sample calculations
d) Performance curves
e) Conclusions and recommendations

Expected Output: Comprehensive laboratory report.

Experiment 6: Ac Motor Starters and Performance Testing

Aim: To study motor starters and conduct performance test on three-phase induction motor.

Procedure:
Part A: Starter Study (60 minutes)

- Study and draw wiring diagram of DOL starter

- Identify all components and test their functionality

- Troubleshoot given faults and suggest remedies

- Study star-delta starter:
a) Draw connection diagram
b) Explain starting sequence
c) Calculate starting current reduction

Part B: Motor Performance Test (90 minutes)

- Conduct brake test on three-phase squirrel cage induction motor:
a) Setup loading arrangement
b) Apply load in steps from no-load to 125% full load
c) At each load, measure:

  - Line voltage (V_L), line current (I_L), input power (P_in)

  - Speed (N), spring balance readings (S₁, S₂)

  - Radius of brake drum (r)

- Calculate for each reading:
a) Output torque T = (S₁ - S₂) × r × g
b) Output power P_out = (2πNT)/60
c) Efficiency η = (P_out/P_in) × 100%
d) Slip s = (N_s - N)/N_s × 100%
e) Power factor

Part C: Analysis (30 minutes)

- Plot following characteristics:
a) Torque vs. Speed
b) Current vs. Load
c) Efficiency vs. Load
d) Power Factor vs. Load

- Determine from graphs:
a) Starting torque
b) Maximum torque
c) Full-load operating point
d) Best efficiency point

Expected Output: Complete test report with all diagrams and graphs.

EVALUATION CRITERIA FOR SEE:

| Component | Marks |
| --- | --- |
| Circuit Setup & Connections | 10 |
| Procedure Execution | 8 |
| Observations & Measurements | 8 |
| Calculations & Analysis | 8 |
| Graphs & Diagrams | 3 |
| Conclusions & Viva Voce | 3 |
| Total | 40 |

LABORATORY REQUIREMENTS AND EQUIPMENT

Essential Equipment:

- Transformers:

  - Single-phase transformers (230V/115V, 500VA-1kVA) - 4 sets

  - Three single-phase transformers for three-phase connections - 2 sets

  - Or three-phase transformer unit (415V/230V) - 2 sets

- Motors:

  - Three-phase squirrel cage induction motor (1-2 HP) - 2 sets

  - Three-phase slip ring induction motor (1-2 HP) - 2 sets

  - Loading arrangement (brake drum with spring balance) - 2 sets

- Starters:

  - DOL starter panel - 2 sets

  - Manual star-delta starter - 2 sets

  - Automatic star-delta starter - 2 sets

  - Autotransformer starter - 2 sets

- Measuring Instruments:

  - Digital/Analog voltmeters (0-600V AC) - 6 nos.

  - Digital/Analog ammeters (0-10A AC) - 6 nos.

  - Wattmeters (single-phase and three-phase) - 4 sets

  - Tachometer (digital/analog) - 2 nos.

  - Multimeters - 4 nos.

  - Phase sequence indicator - 2 nos.

- Accessories:

  - Connecting wires and cables

  - Load banks (resistive/inductive)

  - MCBs and protection devices

  - Insulation testers (optional)

SAFETY PRECAUTIONS

Mandatory Safety Guidelines:

- Personal Protection:

  - Always wear safety shoes in the laboratory

  - Use insulated gloves when working on live circuits

  - Wear laboratory coat for protection

  - Safety goggles must be worn during testing

- Electrical Safety:

  - Verify circuit is de-energized before making connections

  - Use properly rated instruments and cables

  - Ensure proper earthing of all equipment

  - Never work alone in the laboratory

- Equipment Safety:

  - Check equipment ratings before connection

  - Ensure proper cooling for motors and transformers

  - Do not overload any equipment beyond nameplate ratings

  - Report damaged equipment immediately

- Operational Safety:

  - Follow step-by-step procedures for each experiment

  - Keep work area clean and organized

  - No loose clothing or jewelry during practical work

  - Know emergency procedures and location of fire extinguishers

ADDITIONAL PRACTICAL SKILL OUTCOMES

Safety and Procedural Competencies:

- Follow electrical safety protocols during all experiments

- Use personal protective equipment (PPE) correctly

- Select proper instrument ranges and connections

- Take accurate measurements and record observations systematically

- Maintain laboratory equipment and workspace

Documentation and Reporting Skills:

- Prepare neat circuit diagrams for each experiment

- Tabulate observations with proper units and headings

- Perform calculations accurately with appropriate formulas

- Plot graphs with correct scales and labeling

- Draw meaningful conclusions from experimental data

- Prepare comprehensive laboratory reports

Troubleshooting Abilities:

- Identify common faults in transformer connections

- Diagnose problems in motor starter circuits

- Troubleshoot measurement errors in test setups

- Rectify incorrect wiring in three-phase systems

- Interpret abnormal test results and identify causes

PERFORMANCE INDICATORS FOR ASSESSMENT

For Each Experiment, Students Should Demonstrate:

- Preparation: Understanding of theoretical background before practical

- Setup: Correct assembly of circuits and equipment

- Procedure: Proper following of experimental steps

- Measurement: Accurate reading and recording of data

- Calculation: Correct application of formulas and computations

- Analysis: Appropriate interpretation of results

- Safety: Adherence to all safety guidelines

- Cleanup: Proper maintenance of equipment after use

SUGGESTED STUDENT ACTIVITIES

1. Pre-Laboratory Preparation Activities

1.1 Prepare pre-lab reports including theoretical background, circuit diagrams, and expected outcomes for each experiment
1.2 Study IS/IEEE standards related to transformer and motor testing procedures
1.3 Watch NPTEL video demonstrations of AC machine tests before laboratory sessions
1.4 Participate in virtual lab simulations (if available) before hands-on practice

2. Laboratory Enhancement Activities

2.1 Maintain a detailed laboratory journal with:

- Date and experiment title

- Circuit diagrams drawn to scale

- Tabulated observations with proper units

- Sample calculations

- Graphs plotted on graph paper

- Conclusions and learning points

2.2 Create comparison charts for:

- Different transformer connections (Y-Y, Y-Δ, Δ-Y, Δ-Δ)

- Various motor starters (DOL, Star-Delta, Autotransformer)

- Squirrel cage vs. slip ring induction motor characteristics

3. Technical Documentation & Reporting

3.1 Prepare a technical report on "Standard Testing Procedures for Transformers" including:

- O.C. and S.C. test methodologies

- Safety precautions

- Formula derivations

- Sample calculations

3.2 Create a troubleshooting guide for common AC machine problems:

- Transformer overheating issues

- Motor starting failures

- Starter component faults

- Measurement errors in testing

3.3 Develop an equipment maintenance log for laboratory apparatus:

- Calibration schedules

- Inspection checklists

- Safety audit reports

4. Field Visits & Industrial Exposure (Virtual or Physical)

4.1 Visit a substation/power station and document:

- Transformer types and ratings observed

- Cooling methods used

- Protection systems installed

- Maintenance practices followed

4.2 Tour a motor repair workshop and report on:

- Common motor failures encountered

- Rewinding procedures observed

- Testing equipment used

- Safety measures implemented

4.3 Interview an electrical maintenance engineer and prepare a report on:

- Daily responsibilities related to AC machines

- Common troubleshooting scenarios

- Industry standards followed

- Safety protocols maintained

5. Creative Learning Activities

5.1 Design and build a working model demonstrating:

- Transformer working principle (using basic materials)

- Motor starter operation (using relays and contactors)

- Load testing arrangement (scaled model)

5.2 Create educational posters on:

- Transformer construction and types

- Induction motor working principle

- Starter circuits and applications

- Safety precautions in electrical labs

5.3 Develop PowerPoint presentations on:

- Evolution of AC machines

- Modern testing techniques

- Energy efficiency in motors and transformers

- Smart grid integration of AC machines

6. Collaborative Learning Activities

6.1 Organize group discussions on:

- Comparison of different motor starting methods

- Advantages and disadvantages of various transformer connections

- Safety case studies from electrical accidents

6.2 Conduct peer teaching sessions where students:

- Explain complex concepts to classmates

- Demonstrate experimental setups

- Share troubleshooting experiences

6.3 Participate in lab clean-up and organization drives:

- Equipment labeling and categorization

- Cable management and storage

- Safety equipment inspection

7. Digital & Online Learning Activities

7.1 Create digital portfolios of:

- All circuit diagrams drawn during the course

- Experimental data and analysis

- Video demonstrations of experiments

- Reflection journals on learning experiences

7.2 Participate in online forums/discussion groups on:

- Electrical engineering challenges

- Latest developments in AC machines

- Career opportunities in power systems

7.3 Use simulation software (like MATLAB/Simulink) to:

- Simulate transformer performance under various conditions

- Model motor starting characteristics

- Analyze three-phase systems

8. Assessment & Evaluation Activities

8.1 Design quiz questions for peer assessment on:

- Transformer testing procedures

- Motor performance calculations

- Starter circuit troubleshooting

8.2 Create checklists for self-assessment of:

- Laboratory safety practices

- Measurement accuracy

- Report writing quality

- Time management skills

8.3 Participate in surprise tests on:

- Identification of laboratory equipment

- Circuit connection verification

- Safety procedure recall

9. Extension & Application Activities

9.1 Conduct energy audits of institute facilities focusing on:

- Transformer efficiency analysis

- Motor loading assessment

- Power factor improvement suggestions

9.2 Research and present on emerging technologies:

- Smart transformers

- High-efficiency motors

- IoT-based condition monitoring

- Predictive maintenance techniques

9.3 Develop proposals for laboratory improvements:

- New equipment requirements

- Safety enhancement measures

- Digital integration suggestions

- Waste management plans

10. Professional Development Activities

10.1 Attend webinars/workshops on:
- Electrical safety standards
- Latest testing equipment
- Industry 4.0 in electrical engineering
- Renewable energy integration

10.2 Prepare resumes highlighting laboratory skills gained:
- Equipment handling experience
- Testing and measurement skills
- Safety protocol knowledge
- Technical documentation ability

10.3 Create LinkedIn posts/articles on:
- Learning experiences in AC machines lab
- Safety lessons learned
- Technical challenges overcome
- Future career aspirations

Upon successful completion of this laboratory course, students will be able to:

- Technical Skills:

  - Conduct various tests on transformers and induction motors

  - Analyze performance characteristics from experimental data

  - Troubleshoot common problems in AC machines and starters

- Safety Competence:

  - Follow electrical safety protocols in laboratory environment

  - Handle high-voltage equipment with proper precautions

  - Respond appropriately to emergency situations

- Documentation Ability:

  - Maintain accurate laboratory records

  - Prepare professional technical reports

  - Present experimental results effectively

- Professional Development:

  - Work effectively in teams during laboratory sessions

  - Develop problem-solving skills through practical work

  - Apply theoretical knowledge to real-world scenarios

- Enhanced Practical Skills: Better handling of equipment and measurements

- Improved Safety Awareness: Conscious adherence to safety protocols

- Technical Communication: Ability to document and present technical information

- Problem-Solving Ability: Development of troubleshooting skills

- Professional Attitude: Development of work ethics and responsibility

- Lifelong Learning: Cultivation of curiosity and continuous improvement mindset

These activities are designed to:

- Complement formal laboratory experiments

- Enhance practical understanding

- Develop professional skills

- Promote safety consciousness

- Encourage innovation and creativity

Prepare students for industry requirements

INTEGRATED LEARNING OUTCOMES

By the end of the course, students should be able to:

- Integrate theoretical knowledge with practical implementation

- Apply testing procedures to real-world electrical machines

- Evaluate machine performance from experimental data

- Diagnose common operational problems in AC machines

- Recommend appropriate solutions based on test results

Communicate technical findings effectively through reports

Total Contact Periods: 45

Note: Each practical session should be conducted under the direct supervision of qualified laboratory instructors. Students must complete all mandatory experiments and maintain a laboratory journal that will be evaluated periodically throughout the semester.

Note on Periods Distribution: The allocation provides comprehensive coverage of transformer fundamentals (30 periods) while ensuring essential motor concepts (15 periods) are adequately addressed. This balance reflects industry relevance where transformer testing forms a significant portion of electrical maintenance work.