State Board of Technical Education & Training, Telangana

Department of Technical Education

Diploma in Electrical & Electronics Engineering

C-26 Curriculum

| Course Title | Renewable Energy Systems | Course Code | EE-504B |
| --- | --- | --- | --- |
| Semester | V Semester | Course Group | Elective |
| Teaching Scheme (L:T:P) | 4:1:0 (weekly) | Credits | 3 |
| Methodology | Lecture + Tutorials | Total Contact Periods | 75 |
| CIE | 60 Marks | SEE | 40 Marks |

COURSE DESCRIPTION

This course introduces students to the fundamentals, technologies, and applications of renewable energy systems. It covers solar, wind, biomass, biogas, small hydro, and other emerging sources, along with energy storage, grid integration, and hybrid systems. Emphasis is placed on understanding working principles, system components, and the role of renewables in sustainable energy development.

PREREQUISITES

Basic knowledge of electrical energy concepts, fundamentals of power generation, basic electrical machines, and power systems.

COURSE OUTCOMES

Upon completion of the course, the student shall be able to:

| CO Code | Course Outcome Description |
| --- | --- |
| CO1 | Understand the fundamentals and importance of renewable energy sources. |
| CO2 | Explain the working principles of solar energy systems. |
| CO3 | Describe wind energy conversion systems and wind power plants. |
| CO4 | Explain biomass, biogas, and small hydro power systems. |
| CO5 | Understand other renewable energy sources and energy storage systems. |
| CO6 | Explain grid integration and hybrid renewable energy systems. |

BLUEPRINT OF MARKS FOR SEE

| Unit No | Unit Name | Periods | Questions to be set for SEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | R |  |  | U | A |
| 1 | Fundamentals of Renewable Energy | 15 | Q4 | Q1 |  | Q9(a) | Q13(a) |
| 2 | Solar Energy Systems | 10 |  |  |  |  |  |
| 3 | Wind Energy Systems | 15 |  | Q2 |  | Q10(a) | Q14(a) |
| 4 | Biomass, Biogas and Small Hydro Power | 10 |  |  |  |  |  |
| 5 | Other Renewable Energy Sources and Storage | 10 |  | Q3 | Q5,Q6 | Q9(b), Q11(a), Q11(b) | Q13(b), Q15(a), Q15(b) |
| 6 | Grid Integration and Hybrid Systems | 15 |  |  | Q7,Q8 | Q10(b), Q12(a), Q12(b) | Q14(b), Q16(a), Q16(b) |
| Total |  | 75 | 8 |  |  | 8 | 8 |

COURSE CONTENTS

UNIT 1: Fundamentals of Renewable Energy
Duration: 12 Periods (L:10 – T:2)

Definition of renewable energy – Need for renewable energy – Energy scenario in India – Conventional and non-conventional energy sources – Advantages of renewable energy – Environmental impact – Renewable energy potential in India – Government policies and MNRE initiatives – National Solar Mission – Wind energy mission – Role of renewable energy in sustainable development.

UNIT 2: Solar Energy Systems
Duration: 13 Periods (L:10 – T:3)

Solar radiation – Solar constant – Solar angles – Measurement of solar radiation – Principle of photovoltaic conversion – Construction of solar cell – Types of solar cells – Solar PV module – Series and parallel connections – Solar power plant – Standalone system – Grid connected system – Hybrid solar system – Balance of system: inverter, charge controller, batteries – Applications of solar energy.

UNIT 3: Wind Energy Systems
Duration: 15 Periods (L:12 – T:3)

Wind characteristics – Wind velocity and power equation – Wind energy potential – Types of wind turbines – Horizontal axis and vertical axis turbines – Components of wind turbine – Wind power plant – Onshore and offshore wind farms – Wind electric generators – Grid connected wind system – Advantages and limitations of wind energy.

UNIT 4: Biomass, Biogas and Small Hydro Power
Duration: 10 Periods (L:8 – T:2)

Biomass energy – Sources of biomass – Biomass conversion methods – Biogas plant – Construction and working – Applications of biogas – Classification of hydro power plants – Small hydro power plant – Components – Turbines used – Advantages and limitations.

UNIT 5: Other Renewable Energy Sources and Energy Storage
Duration: 13 Periods (L:10 – T:3)

Geothermal energy – Power plant layout – Tidal energy – Wave energy – Ocean thermal energy – Hydrogen energy – Fuel cells – Energy storage systems – Batteries – Flywheel – Hydrogen storage – Pumped storage – Applications.

UNIT 6: Grid Integration and Hybrid Renewable Systems
Duration: 12 Periods (L:10 – T:2)

Need for grid integration – Smart grid – Net metering – Grid synchronization – Power conditioning – Hybrid renewable energy systems – Solar-wind hybrid – Solar-diesel hybrid – Microgrid – Rural electrification – Renewable energy economics – Future trends.

REFERENCE BOOKS

- Non-Conventional Energy Resources – G.D. Rai

- Renewable Energy Systems – Godfrey Boyle

- Solar Energy – S.P. Sukhatme

- Renewable Energy Engineering – B.H. Khan

- Wind Energy Handbook – Tony Burton

SUGGESTED E-LEARNING REFERENCES

- www.nptel.ac.in

- www.mnre.gov.in

- www.electrical4u.com

- www.renewableenergyworld.com

SUGGESTED LEARNING OUTCOMES

CO1: Fundamentals of Renewable Energy
1.1 Introduction to Energy Sources: Renewable vs Non-renewable, Conventional vs non-conventional.
1.2 Global & National Energy Scenario: Energy demand, supply, and future projections.
1.3 Environmental Impact of Fossil Fuels: GHG emissions, climate change, pollution.
1.4 Advantages & Challenges of Renewable Energy.
1.5 Classification of Renewable Energy Sources: Solar, Wind, Biomass, Hydro, Geothermal, Ocean, etc.
1.6 Renewable Energy Potential in India: State-wise resources and installed capacity.
1.7 Government Policies & Initiatives: MNRE, National Solar Mission, Wind Policy, Subsidies, RPO.
1.8 Role of Renewable Energy in Sustainable Development & SDGs.

CO2: Solar Energy Systems
2.1 Solar Radiation Basics: Solar constant, spectral distribution, extraterrestrial radiation.
2.2 Solar Geometry: Sun path diagrams, solar angles, tilt & orientation.
2.3 Solar Radiation Measurement: Pyranometer, Pyrheliometer, Sunshine recorder.
2.4 Photovoltaic Effect: Principle of PV conversion, semiconductor basics.
2.5 Solar Cell Types: Monocrystalline, Polycrystalline, Thin-film, Emerging technologies.
2.6 PV Modules & Arrays: Series-parallel connections, mismatch losses, Bypass diodes.
2.7 Solar PV Systems: Standalone, Grid-connected, Hybrid systems.
2.8 Balance of System Components: Charge controllers (PWM, MPPT), Inverters, Batteries, Mounting structures.
2.9 Applications: Solar lighting, water pumping, rooftop systems, solar farms.

CO3: Wind Energy Systems
3.1 Wind Energy Fundamentals: Wind formation, power density, Betz limit.
3.2 Wind Power Estimation: Wind power equation, capacity factor, energy yield.
3.3 Types of Wind Turbines: Horizontal Axis (HAWT) & Vertical Axis (VAWT) – construction & comparison.
3.4 Turbine Components: Blades, hub, nacelle, gearbox, generator, tower, yaw system.
3.5 Wind Electric Generators: Induction, Synchronous, Permanent Magnet.
3.6 Wind Farm Layout: Onshore vs Offshore, micro-siting, wake effects.
3.7 Grid Integration Issues: Power quality, frequency regulation, grid codes.
3.8 Control Systems: Pitch control, yaw control, braking systems.
3.9 Advantages, Limitations & Environmental Aspects.

CO4: Biomass, Biogas and Small Hydro Power
4.1 Biomass Energy: Sources, properties, calorific value.
4.2 Biomass Conversion Technologies: Combustion, gasification, pyrolysis, anaerobic digestion.
4.3 Biogas Plants: Floating drum, fixed dome, KVIC model, Deenbandhu model.
4.4 Biogas Applications: Cooking, lighting, power generation, bio-CNG.
4.5 Small Hydro Power (SHP): Classification (mini, micro, pico), site selection criteria.
4.6 SHP Components: Intake, penstock, turbine, generator, tailrace.
4.7 Turbines for SHP: Pelton, Francis, Kaplan, Crossflow – selection criteria.
4.8 Advantages, Challenges & Environmental Impacts.

CO5: Other Renewable Energy Sources and Energy Storage
5.1 Geothermal Energy: Resources, types of geothermal power plants (dry steam, flash, binary).
5.2 Ocean Energy: Tidal energy (single/double basin), Wave energy converters, OTEC.
5.3 Hydrogen Energy: Production methods (electrolysis, reforming), storage, fuel cells.
5.4 Fuel Cells: Working principle, types (PEM, SOFC, MCFC), applications.
5.5 Energy Storage Systems: Need for storage, types.
5.6 Battery Storage: Lead-acid, Li-ion, flow batteries.
5.7 Mechanical Storage: Pumped hydro, flywheels, compressed air.
5.8 Other Storage: Supercapacitors, thermal storage.
5.9 Applications of Storage in Renewable Integration.

CO6: Grid Integration and Hybrid Renewable Systems
6.1 Grid Integration Challenges: Intermittency, variability, power quality issues.
6.2 Power Conditioning Systems: Inverters, converters, filters, protection devices.
6.3 Smart Grid Concepts: ICT integration, demand response, AMI, IoT in renewables.
6.4 Net Metering & Gross Metering: Policies, billing mechanisms.
6.5 Renewable Energy Forecasting: Techniques & importance for grid management.
6.6 Hybrid Renewable Systems: Solar-Wind, Solar-Diesel, Wind-Diesel, PV-Biogas.
6.7 Microgrids: Concept, components, operation modes (islanded/grid-connected).
6.8 Rural Electrification: Case studies, decentralized renewable systems.
6.9 Future Trends: Green hydrogen, floating solar, offshore wind, AI in renewables.

SUGGESTED STUDENT ACTIVITIES

- Chart Preparation: Types of renewable energy systems with labeled diagrams.

- Field Visits: Solar power plant / Wind farm / Biogas plant visit report with photos.

- Case Study: Analysis of a hybrid renewable system in rural area.

- Mini Project: Design of a standalone solar PV system for a home.

- Model Making: Working model of biogas plant or small wind turbine.

- Survey Report: Study of renewable energy adoption in local community.

- Group Discussion: Future of renewable energy in India.

- Quiz & Technical Seminars on recent renewable energy trends.

- Hands-on Training: Identification of PV components, battery connections.

- Report Writing: Government schemes and subsidies for renewable energy.

- Quiz.

- Group discussion.

- Surprise test.

Internal Evaluation

| Test | Units | Marks |
| --- | --- | --- |
| Mid Sem 1 | 1 and 2 | 20 |
| Mid Sem 2 | 3 and 4 | 20 |
| Slip Test 1 | 1 and 2 | 5 |
| Slip Test 2 | 3 and 4 | 5 |
| Assignments | – | 5 |
| Seminars | – | 5 |
| Total |  | 60 |

CO-PO MAPPING MATRIX

| CO/PO | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | Linked POs | Justification for Mapping |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | – | 1 | – | – | – | 1 | 1, 3, 7 | Understanding renewable energy fundamentals applies engineering knowledge (PO1) and basic design awareness (PO3). Lifelong learning (PO7) through sustainability education. |
| CO2 | 3 | 1 | 2 | 1 | – | – | 1 | 1, 2, 3, 4, 7 | Solar system analysis involves problem identification (PO2), system design (PO3), and basic investigation (PO4). PO7 relates to clean energy adoption. |
| CO3 | 3 | – | – | – | 1 | – | 1 | 1, 5, 7 | Wind energy systems require engineering tools (PO5) for resource assessment. PO7 emphasizes environmental benefits. |
| CO4 | 3 | – | 2 | – | 1 | – | 1 | 1, 3, 5, 7 | Biomass and small hydro systems involve design (PO3) and tool usage (PO5). PO7 covers rural energy solutions. |
| CO5 | 3 | 2 | 2 | – | 3 | – | 2 | 1, 2, 3, 5, 7 | Emerging energy sources and storage require analysis (PO2), design (PO3), and advanced tools (PO5). PO7 supports energy innovation. |
| CO6 | 3 | 3 | 2 | – | 3 | – | 2 | 1, 2, 3, 5, 7 | Grid integration and hybrid systems involve complex problem solving (PO2), design (PO3), and modern tools (PO5). PO7 relates to smart and sustainable grids. |

Mapping Scale:
3 = High Correlation | 2 = Medium Correlation | 1 = Low Correlation | – = No Correlation

QUESTION PAPER PATTERN FOR MID SEMESTER EXAMS

| Sl.No | Description | Level | No of Questions | Marks per Question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Part-A | Remembering (R) | 4 | 1 | Nil | 4 Marks |
| 2 | Part-B | Understanding (U) | 4 | 3 | 2 | 6 Marks |
| 3 | Part-C | Application (A) | 4 | 5 | 2 | 10 Marks |
| Total Marks |  |  |  |  |  | 20 Marks |

MID SEM-I EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-I | 1,2 | 5(a),5(b) | 7(a),7(b) |  |
| 2 | Unit-II | 3,4 | 6(a),6(b) | 8(a),8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

MID SEM-II EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-III | 1,2 | 5(a),5(b) | 7(a),7(b) |  |
| 2 | Unit-IV | 3,4 | 6(a),6(b) | 8(a),8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

The length of answer for each question framed in respect of Part-A, B&C shall not exceed ¼ of a page, 1 page and 2 pages respectively.

QUESTION PAPER PATTERN FOR SEMESTER END EXAM

| Sl.No | Description | Level | No of Questions | Marks per Question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Part-A | Remembering (R) | 8 | 1 | Nil | 8 Marks |
| 2 | Part-B | Understanding (U) | 8 | 3 | 4 | 12 Marks |
| 3 | Part-C | Application (A) | 8 | 5 | 4 | 20 Marks |
| Total Marks |  |  |  |  |  | 40 Marks |

MODEL QUESTION PAPERS

MID SEMESTER - I EXAM MODEL PAPER

STATE BOARD OF TECHNICAL EDUCATION & TRAINING, TELANGANA
Diploma in Electrical & Electronics Engineering

Sub Code: EE-504B                                                             Sub Name: Renewable Energy Systems

Time: 60 min. | Total Marks: 20

PART – A | Marks: 4 × 1 = 4

Instructions:
(1) Answer all questions
(2) Each question carries one mark.

- Define Renewable Energy.

- List two environmental impacts of fossil fuels.

- What is the Solar Constant?

- Name two instruments used for measuring solar radiation.

PART – B | Marks: 2 × 3 = 6

Instructions:
(1) Answer all questions.
(2) Each question carries three marks.

- (a) Explain the difference between renewable and non-renewable energy sources with examples.
OR
(b) State any three advantages of renewable energy.

- (a) Draw a labeled diagram of a Pyranometer.
OR
(b) Explain the principle of photovoltaic conversion.

PART – C | Marks: 2 × 5 = 10

Instructions:
(1) Answer all questions.
(2) Each question carries five marks.

- (a) Describe the role of MNRE in promoting renewable energy in India.
OR
(b) Explain the global energy scenario and the need for renewable energy transition.

- (a) Describe the construction and working of a Monocrystalline Solar Cell with a neat diagram.
OR
(b) A solar PV module has the following specifications: Maximum Power = 300W, Voltage at Max Power = 36V, Current at Max Power = 8.33A. If three such modules are connected in series, calculate: (i) Total voltage (ii) Total current (iii) Total power output.

MID SEMESTER - II EXAM MODEL PAPER

STATE BOARD OF TECHNICAL EDUCATION & TRAINING, TELANGANA
Diploma in Electrical & Electronics Engineering

Sub Code: EE-504B                                                             Sub Name: Renewable Energy Systems

Time: 60 min. | Total Marks: 20

PART – A | Marks: 4 × 1 = 4

Instructions:
(1) Answer all questions
(2) Each question carries one mark.

- Define Wind Power Density.

- List two types of biogas plants.

- What is a Fuel Cell?

- Name two energy storage systems used with renewables.

PART – B | Marks: 2 × 3 = 6

Instructions:
(1) Answer all questions.
(2) Each question carries three marks.

- (a) Compare Horizontal Axis Wind Turbine (HAWT) and Vertical Axis Wind Turbine (VAWT).
OR
(b) State Betz Limit and its significance in wind energy.

- (a) Explain the working of a Floating Drum Biogas Plant with a diagram.
OR
(b) List the components of a Small Hydro Power Plant.

PART – C | Marks: 2 × 5 = 10

Instructions:
(1) Answer all questions.
(2) Each question carries five marks.

- (a) Describe the construction and working of a Geothermal Power Plant (Dry Steam type).
OR
(b) Explain the principle of Ocean Thermal Energy Conversion (OTEC) with a schematic diagram.

- (a) A wind turbine has a rotor diameter of 50m and operates at a wind speed of 10 m/s. If the air density is 1.225 kg/m³ and power coefficient is 0.4, calculate the power output.
OR
(b) Explain the working of a PEM Fuel Cell with a neat diagram and list its applications.

SEMESTER END EXAM MODEL PAPER

STATE BOARD OF TECHNICAL EDUCATION & TRAINING, TELANGANA
Diploma in Electrical & Electronics Engineering

Sub Code: EE-504B                                                             Sub Name: Renewable Energy Systems

Time: 2 hours | Total Marks: 40

PART – A | Marks: 8 × 1 = 8

Instructions:
(1) Answer all questions
(2) Each question carries one mark.

- List two renewable energy sources.

- Define Solar Constant.

- What is Wind Power Density?

- Name two types of biogas plants.

- Define Geothermal Energy.

- What is Net Metering?

- List two types of energy storage systems.

- Name two components of a Hybrid Renewable System.

PART – B | Marks: 4 × 3 = 12

Instructions:
(1) Answer all questions.
(2) Each question carries three marks.

- (a) Explain the environmental impacts of fossil fuels.
OR
(b) Describe the working principle of a photovoltaic cell.

- (a) Draw a labeled diagram of a Horizontal Axis Wind Turbine (HAWT).
OR
(b) Explain the construction of a Fixed Dome Biogas Plant.

- (a) Describe the working of a PEM Fuel Cell.
OR
(b) List the advantages and disadvantages of Small Hydro Power.

- (a) Explain the concept of Smart Grid in renewable energy integration.
OR
(b) Describe the components of a Solar-Wind Hybrid System.

PART – C | Marks: 4 × 5 = 20

Instructions:
(1) Answer all questions.
(2) Each question carries five marks.

- (a) Discuss the role of MNRE and National Solar Mission in promoting solar energy in India.
OR
(b) A solar panel receives solar radiation of 800 W/m². The panel area is 2 m² and efficiency is 18%. Calculate: (i) Total solar power received (ii) Electrical power output (iii) Daily energy output if it receives 5 hours of peak sun.

- (a) Explain the working of a Geothermal Power Plant (Flash Steam type) with a neat diagram.
OR
(b) A wind turbine with rotor diameter 60m operates at wind speed of 12 m/s. Air density is 1.225 kg/m³. Calculate: (i) Swept area (ii) Wind power available (iii) Electrical power output if overall efficiency is 35%.

- (a) Compare Biomass Gasification and Biomass Pyrolysis processes.
OR
(b) Explain the working of a Lithium-ion Battery Energy Storage System for renewable integration.

- (a) Design a simple Solar-Diesel Hybrid System for a remote village with labelled diagram and explain its operation.
OR
(b) Discuss the future trends in renewable energy with emphasis on Green Hydrogen and Floating Solar.