State Board of Technical Education & Training, Telangana

Department of Technical Education

Diploma in Electrical & Electronics Engineering

C-26 Curriculum

| Course Title | Electric Vehicles & Charging Infrastructure | Course Code | EE-505A |
| --- | --- | --- | --- |
| Semester | V Semester | Course Group | Elective |
| Teaching Scheme (L:T:P) | 4:1:0 (weekly) | Credits | 3 |
| Methodology | Lecture + Tutorials | Total Contact Periods | 75 |
| CIE | 60 Marks | SEE | 40 Marks |

COURSE DESCRIPTION

This course introduces Electric Vehicles and Charging Infrastructure. It covers basic EV architecture, components, energy storage systems, charging methods, and charging station infrastructure, along with grid integration and renewable energy–based EV charging. The course aims to develop a fundamental understanding of electric mobility technologies and charging systems.

PREREQUISITES

The student should have basic knowledge of electrical circuits, electrical machines, and fundamentals of power electronics. The student should also be familiar with basic battery concepts, charging methods, and elementary automobile systems. A basic understanding of renewable energy sources and electrical safety practices will be helpful for effective learning of this course.

COURSE OBJECTIVES

- Introduce the fundamentals and classifications of electric vehicles.

- Explain the main components and energy storage systems used in electric vehicles.

- Provide knowledge on EV charging methods, standards, and charging infrastructure.

- Develop an understanding of EV drivetrain, powertrain, and control concepts.

- Familiarize students with EV grid integration, smart charging, and renewable energy–based charging systems.

- Enable awareness of basic operation, safety practices, and troubleshooting of EV systems.

COURSE OUTCOMES (COS)

Upon successful completion of the course, the student will be able to:

| CO No. | Course Outcome Description |
| --- | --- |
| CO1 | Understand the basic concepts, classification, and architecture of electric vehicles. |
| CO2 | Identify and explain the major components and energy storage systems used in electric vehicles. |
| CO3 | Explain EV charging methods, charging standards, and charging infrastructure. |
| CO4 | Understand the drivetrain, powertrain, and basic control concepts of electric vehicles. |
| CO5 | Analyze the impact of electric vehicle charging on the electrical grid and smart charging concepts. |
| CO6 | Understand renewable energy integration, safety practices, and basic troubleshooting in electric vehicles. |

CO-PO MAPPING MATRIX

| CO / PO | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | 1 | – | – | – | 2 |
| CO2 | 2 | 1 | – | – | – | – | 2 |
| CO3 | 3 | 2 | – | – | 1 | 1 | 2 |
| CO4 | 3 | 2 | 1 | – | – | 1 | 3 |
| CO5 | 3 | 2 | 1 | – | – | 1 | 2 |
| CO6 | 1 | 1 | 1 | – | – | – | 2 |

Correlation Scale: 1–Low, 2–Medium, 3–High

COURSE CONTENTS

UNIT–I: INTRODUCTION TO ELECTRIC VEHICLES Periods: 10 (L: 08 – T: 02)

Introduction to Electric Vehicles (EVs). Hybrid Electric Vehicles (HEVs) and Plug-in Hybrid Electric Vehicles (PHEVs). Classification of electric vehicles based on drivetrain configuration. Types of HEVs: series, parallel, series-parallel, and complex hybrid systems. Fuel Cell Electric Vehicles (FCEVs). Comparison between electric vehicles and conventional internal combustion engine vehicles. Comparison between pure electric vehicles and hybrid electric vehicles. Comparison between series and parallel hybrid vehicles. Advantages and benefits of electric vehicles including environmental impact. Single-speed transmission used in electric vehicles. Single-motor and multi-motor drive systems. Concept and advantages of in-wheel drive systems in electric vehicles.

UNIT–II: ELECTRIC VEHICLE COMPONENTS AND ENERGY STORAGE SYSTEMS Periods: 15 (L: 12 – T: 03)

Major components of electric vehicles and their functions. Electric motor as a propulsion unit. Types of electric motors used in EVs (AC and DC). Advantages of DC motors over AC motors. Construction and working principle of induction motor. Permanent magnet motor and switched reluctance motor. Introduction to energy storage systems in EVs and HEVs. Lead-acid batteries, nickel-based batteries, and lithium-ion batteries. Fuel cells as energy sources. Supercapacitors and flywheel energy storage systems. Battery parameters such as capacity, state of charge, state of health, and C-rate. Effect of temperature on battery performance. Hybridization of different energy storage systems. Types of fuel cells. Difference between cell monitoring controller and battery monitoring controller. Protective and safety measures for EV batteries.

UNIT–III: EV CHARGING SYSTEMS AND STANDARDS Periods: 10 (L: 08 – T: 02)

Definition and purpose of EV charging stations. AC and DC charging methods. Charging levels: Level-1, Level-2, and Level-3 chargers. Domestic and public charging equipment. On-board and off-board charging systems. EV acceptance rate. Power factor correction in on-board chargers. Types of Level-3 fast chargers. Concept of bidirectional charging. EV charging connectors such as Type-1, Type-2, and Type-3 connectors. CHAdeMO connector and Combined Charging System (CCS) Combo-1 and Combo-2. Charging time and charging cost estimation. Concept of peak shaving. Difference between EV charging station (EVCS) and electric vehicle supply equipment (EVSE). Open Charge Point Protocol (OCPP). Battery swapping and wireless charging methods. Indian standards for AC and DC EV charging.

UNIT–IV: EV DRIVETRAIN AND POWERTRAIN TECHNOLOGIES
Periods: 15 (L: 12 – T: 03)

General configuration of an electric vehicle. Difference between powertrain, drivetrain, and driveline. Control philosophy of electric vehicles. EV transmission systems. Types of differentials used in electric vehicles. Difference between 2WD, 4WD, and AWD systems. Components of motor controller. Introduction to field-oriented control (FOC). Electric drive unit (EDU). Difference between mild hybrid and full hybrid vehicles. Power flow operating modes in series HEV, parallel HEV, and series-parallel HEV. Mechanical coupling concepts in parallel HEV. Types of mechanical coupling and dual transmission. Applications of sensors, valves, and actuators in electric vehicles. Cables used inside and outside electric vehicles. Pyrotechnic safety switch and its importance.

UNIT–V: ELECTRIC VEHICLE GRID INTEGRATION AND CHARGING INFRASTRUCTURE Periods: 10 (L: 08 – T: 02)

Load calculation of electric vehicle charging stations. Effect of EV charging stations on the local power grid. Requirements for locating EV charging stations. International Electrotechnical Commission (IEC) standards related to EV charging infrastructure. Single and multiple output charging stations. Modes of charging communication. Wall-mounted and floor-mounted charging installations. Charging stations with cable and without cable. Fast charging stations, advantages and limitations. Residual current devices and overcurrent protection devices used in charging stations. Impact of EV charging on maximum power demand. Power management techniques for EV charging stations. Smart charging concepts. Vehicle-to-everything (V2X) technologies such as V1G, V2G, V2V, V2H, and V2B. Elements and layout of an EV charging station.

UNIT–VI: RENEWABLE ENERGY INTEGRATION AND EV TROUBLESHOOTING
Periods: 15 (L: 12 – T: 03)

Integration of renewable energy sources with electric vehicle charging systems. Scheduling of EV charging for increased renewable energy utilization. Renewable energy–based EV charging stations. Correlation between EV charging and renewable energy integration. Coordinated operation of EVs with distributed generation systems. Cost comparison of renewable energy–based EV charging systems with conventional charging methods. Maintenance and servicing of electric vehicles. Troubleshooting faults in EV components such as motor, drivetrain, and battery. Battery management systems and common battery faults. Repair and servicing of EV charging equipment. Battery disposal methods and recycling practices.

REFERENCE BOOKS

- Mehrdad Ehsani, Yimin Gao, Sebastien E. Gay and Ali Emadi, Modern Electric, Hybrid Electric and Fuel Cell Vehicles, CRC Press.

- C. C. Chan and K. T. Chau, Modern Electric Vehicle Technology, Oxford University Press.

- Iqbal Husain, Electric and Hybrid Vehicles – Design Fundamentals, CRC Press.

- NITI Aayog, Government of India, Handbook on Electric Vehicle Charging Infrastructure Implementation.

- James Larminie and John Lowry, Electric Vehicle Technology Explained, Wiley.

SUGGESTED E-LEARNING REFERENCES

- NPTEL Online Course on Introduction to Electric Vehicles and Hybrid Vehicles – https://nptel.ac.in

- Ministry of Power, Government of India – EV Charging Infrastructure Guidelines – https://powermin.gov.in

- Bureau of Indian Standards (BIS) – EV Charging Standards (IS 17017 series) – https://www.bis.gov.in

- Energy Efficiency Services Limited (EESL) – Electric Mobility Resources – https://eeslindia.org

SUGGESTED LEARNING OUTCOMES

Upon completion of the course, the student shall be able to demonstrate the following competencies aligned with each Course Outcome:

CO1: Analyze the architecture of Electric Vehicles

- Define electric vehicles and electric mobility.

- Classify electric vehicles as BEV, HEV, PHEV, and FCEV.

- Identify major subsystems of an electric vehicle.

- Explain the basic architecture of an electric vehicle.

- Compare electric vehicles with conventional vehicles.

- Distinguish between pure electric and hybrid electric vehicles.

- Explain different drivetrain configurations of EVs.

- Differentiate series, parallel, and series-parallel HEVs.

- Identify components involved in EV power flow.

- Explain the role of transmission in EVs.

- Describe single-speed transmission in EVs.

- Explain single-motor and multi-motor drive systems.

- Understand the concept of in-wheel drive systems.

- List advantages of EV architecture.

- Analyze environmental benefits of electric vehicles.

CO2: Explain components and energy storage systems of EVs

- List major components of an electric vehicle.

- Explain the function of the traction motor in EVs.

- Classify electric motors used in EVs.

- Compare AC and DC motors used in EVs.

- Explain the construction and working of an induction motor.

- Explain the construction and working of a PMSM.

- Explain the working principle of a switched reluctance motor.

- Identify different types of batteries used in EVs.

- Define battery parameters such as SOC, SOH, and capacity.

- Explain the effect of temperature on battery performance.

- Explain the concept of C-rate.

- Describe fuel cells as an energy source.

- Explain supercapacitor and flywheel energy storage systems.

- Differentiate cell monitoring and battery monitoring controllers.

- Identify safety and protection measures for EV batteries.

CO3: Explain EV charging systems and standards

- Define an EV charging station.

- Classify EV charging methods as AC and DC.

- Differentiate Level-1, Level-2, and Level-3 chargers.

- Explain domestic and public charging systems.

- Explain on-board and off-board charging.

- Define EV acceptance rate.

- Explain the need for power factor correction in OBC.

- Describe fast charging concepts.

- Explain bidirectional charging.

- Identify different EV charging connectors.

- Explain CCS and CHAdeMO standards.

- Estimate charging time and charging cost.

- Explain the concept of peak shaving.

- Differentiate EVCS and EVSE.

- Explain Indian standards for EV charging.

CO4: Understand drivetrain and powertrain technologies of EVs

- Explain the general configuration of an EV.

- Differentiate powertrain, drivetrain, and driveline.

- Explain the control philosophy of electric vehicles.

- Describe EV transmission systems.

- Explain the function of differentials in EVs.

- Differentiate 2WD, 4WD, and AWD systems.

- Identify components of a motor controller.

- Explain the basic concept of field-oriented control.

- Describe the electric drive unit (EDU).

- Differentiate mild hybrid and full hybrid vehicles.

- Explain power flow modes in a series HEV.

- Explain power flow modes in a parallel HEV.

- Explain power flow modes in a series-parallel HEV.

- Describe mechanical coupling in HEVs.

- Explain the importance of safety devices in EVs.

CO5: Understand EV grid integration and charging infrastructure

- Explain load calculation for EV charging stations.

- Analyze the impact of EV charging on the power grid.

- Identify requirements for locating charging stations.

- Explain IEC standards related to EV charging.

- Explain single and multiple output charging stations.

- Identify charging communication methods.

- Explain wall-mounted charging systems.

- Explain floor-mounted charging systems.

- Differentiate charging stations with cable and without cable.

- Explain fast charging station operation.

- Identify protection devices used in charging stations.

- Explain the impact of EV charging on maximum demand.

- Explain power management techniques in EV charging.

- Explain smart charging concepts.

- Describe V2X technologies.

CO6: Analyze renewable energy integration and EV troubleshooting

- Identify renewable energy sources for EV charging.

- Explain the need for renewable energy-based EV charging.

- Describe solar EV charging systems.

- Describe wind-based EV charging systems.

- Explain scheduling of EV charging with renewable energy.

- Explain coordinated operation of EVs and distributed generation.

- Compare renewable and conventional EV charging costs.

- Explain maintenance practices for electric vehicles.

- Identify common motor faults in EVs.

- Identify drivetrain faults in EVs.

- Identify battery faults in EVs.

- Explain basic battery management system functions.

- Explain troubleshooting of EV charging equipment.

- Explain battery disposal methods.

- Explain the importance of battery recycling.

BLUEPRINT FOR SEE

| Unit No | Unit Name | Periods | Questions to be set for SEE |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 | Introduction to Electric Vehicles | 10 | R: Q4 | U: Q1 | A: Q9(a), Q13(a) |
| 2 | EV Components & Energy Storage Systems | 15 |  |  |  |
| 3 | EV Charging Systems & Standards | 10 |  | U: Q2 | A: Q10(a), Q14(a) |
| 4 | EV Drivetrain & Powertrain Technologies | 15 |  |  |  |
| 5 | EV Grid Integration & Charging Infra. | 10 |  | U: Q3 | A: Q5, Q6, Q9(b), Q11(a), Q11(b), Q13(b), Q15(a), Q15(b) |
| 6 | Renewable Energy Integration & EV Troubleshooting | 15 |  |  | A: Q7, Q8, Q10(b), Q12(a), Q12(b), Q14(b), Q16(a), Q16(b) |
| Total |  | 75 | R: 8 | U: 8 | A: 8 |

INTERNAL EVALUATION

| Test | Units | Marks |
| --- | --- | --- |
| Mid Sem 1 | 1 and 2 | 20 |
| Mid Sem 2 | 3 and 4 | 20 |
| Slip Test 1 | 1 and 2 | 5 |
| Slip Test 2 | 3 and 4 | 5 |
| Assignments | – | 5 |
| Seminars | – | 5 |
| Total |  | 60 |

QUESTION PAPER PATTERN FOR MID SEMESTER EXAMS

| Sl.No | Description | Level | No of Questions | Marks per Question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Part-A | Remembering (R) | 4 | 1 | Nil | 4 Marks |
| 2 | Part-B | Understanding (U) | 4 | 3 | 2 | 6 Marks |
| 3 | Part-C | Application (A) | 4 | 5 | 2 | 10 Marks |
| Total Marks |  |  |  |  |  | 20 Marks |

MID SEM-I EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-I | 1,2 | 5(a),5(b) | 7(a),7(b) |  |
| 2 | Unit-II | 3,4 | 6(a),6(b) | 8(a),8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

MID SEM-II EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-III | 1,2 | 5(a),5(b) | 7(a),7(b) |  |
| 2 | Unit-IV | 3,4 | 6(a),6(b) | 8(a),8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

The length of answer for each question framed in respect of Part-A, B&C shall not exceed ¼ of a page, 1 page and 2 pages respectively.

QUESTION PAPER PATTERN FOR SEMESTER END EXAM

| Sl.No | Description | Level | No of Questions | Marks per Question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Part-A | Remembering (R) | 8 | 1 | Nil | 8 Marks |
| 2 | Part-B | Understanding (U) | 8 | 3 | 4 | 12 Marks |
| 3 | Part-C | Application (A) | 8 | 5 | 4 | 20 Marks |
| Total Marks |  |  |  |  |  | 40 Marks |

MODEL QUESTION PAPERS

MID SEMESTER - I EXAM MODEL PAPER

STATE BOARD OF TECHNICAL EDUCATION & TRAINING, TELANGANA
Diploma in Electrical & Electronics Engineering

Sub Code: EE-505A                Sub Name: Electric Vehicles & Charging Infrastructure
Time: 60 min. | Total Marks: 20

PART – A (4 × 1 = 4 Marks)

(Answer all questions)

- Define an Electric Vehicle (EV).

- Write any two advantages of electric vehicles.

- What is a Hybrid Electric Vehicle (HEV)?

- Define drivetrain in an electric vehicle.

PART – B (2 × 3 = 6 Marks)

(Answer any TWO questions)
5. (a) Explain the classification of electric vehicles.
OR
(b) Differentiate between EV and conventional vehicles.
6. (a) Write the advantages of series hybrid vehicles.
OR
(b) Explain single-motor and multi-motor drive systems in EVs.

PART – C (2 × 5 = 10 Marks)

(Answer any TWO questions)
7. (a) Explain the architecture of an electric vehicle with a neat block diagram.
OR
(b) Compare series and parallel hybrid electric vehicles.
8. (a) Explain the concept and advantages of in-wheel drive systems.
OR
(b) Explain the environmental benefits of electric vehicles.

MID SEMESTER - II EXAM MODEL PAPER

STATE BOARD OF TECHNICAL EDUCATION & TRAINING, TELANGANA
Diploma in Electrical & Electronics Engineering

Sub Code: EE-505A                Sub Name: Electric Vehicles & Charging Infrastructure
Time: 60 min. | Total Marks: 20

PART – A (4 × 1 = 4 Marks)

(Answer all questions)

- What is on-board charging?

- Define EV acceptance rate.

- Write the full form of CCS.

- What is Level-2 charging?

PART – B (2 × 3 = 6 Marks)

(Answer any TWO questions)
5. (a) Differentiate between AC and DC charging.
OR
(b) Explain domestic and public EV charging systems.
6. (a) Explain power factor correction in on-board chargers.
OR
(b) Write the advantages of fast charging stations.

PART – C (2 × 5 = 10 Marks)

(Answer any TWO questions)
7. (a) Explain different EV charging levels with suitable examples.
OR
(b) Explain EV charging connectors and standards.
8. (a) Explain battery swapping and wireless charging methods.
OR
(b) Explain Indian standards for EV charging infrastructure.

SEMESTER END EXAM MODEL PAPER

STATE BOARD OF TECHNICAL EDUCATION & TRAINING, TELANGANA
Diploma in Electrical & Electronics Engineering

Sub Code: EE-505A                 Sub Name: Electric Vehicles & Charging Infrastructure

Time: 2 hours | Total Marks: 40

PART – A (8 × 1 = 8 Marks)

(Answer all questions)

- Define electric drivetrain.

- What is PHEV?

- Write the full form of OCPP.

- Define smart charging.

- What is EVSE?

- Name any two EV charging connectors.

- Write any two advantages of V2G technology.

- What is battery recycling?

PART – B (4 × 3 = 12 Marks)

(Answer any FOUR questions)
9. (a) Explain advantages of lithium-ion batteries used in EVs.
OR
(b) Explain construction and working of induction motor used in EVs.
10. (a) Differentiate between on-board and off-board charging.
OR
(b) Explain peak shaving in EV charging.
11. (a) Write the requirements for locating an EV charging station.
OR
(b) Explain different charging communication methods.
12. (a) Explain the impact of EV charging on the electrical grid.
OR
(b) Write common battery faults in electric vehicles.

PART – C (4 × 5 = 20 Marks)

(Answer any FOUR questions)
13. (a) Explain major components of an electric vehicle.
OR
(b) Explain energy storage systems used in electric vehicles.
14. (a) Explain EV drivetrain and powertrain technologies.
OR
(b) Explain different hybrid vehicle configurations.
15. (a) Explain load calculation of EV charging stations.
OR
(b) Explain fast charging stations with advantages and limitations.
16. (a) Explain integration of renewable energy with EV charging.
OR
(b) Explain EV troubleshooting and maintenance practices.