# BASIC ELECTRICAL & ELECTRONICS ENGINEERING

| Course Title: | BASIC ELECTRICAL & ELECTRONICS ENGINEERING | Course Code | EE- 315 |
| --- | --- | --- | --- |
| Semester | III Semester | Course Group | Core |
| Teaching Scheme in Periods (L:T:P) | 4:1:0 | Credits | 2.5 |
| Methodology | Lecture+Tutorials | Total Contact Periods | 75 |
| CIE | 60 Marks | SEE | 40 Marks |

PRE-REQUISITES

Basic knowledge of Physics and Mathematics at secondary school level and interest to understand basic electrical systems used in mechanical engineering applications.

UNIT – I: Electrical Fundamentals

Duration: 10 Periods (L:8, T:2)

• Electrical quantities: Voltage, Current, Resistance
• Ohm’s Law (simple numerical problems)
• Electrical work, power and energy (practical meaning)
• Kirchhoff’s laws (concept only)
• Introduction to electromagnetic induction
• Faraday’s laws, Fleming’s Right Hand Rule and Lenz’s Law (applications only)

UNIT – II : DC Machines and Batteries

Duration: 15 Periods (L:12, T:3)

• DC Generator: principle, main parts and applications
• DC Motor: principle, types and applications
• Concept of back EMF (no derivations)
• Losses in DC machines (list only)
• Batteries: primary and secondary cells
• Introduction to Lead-acid and Lithium-ion batteries
• Battery charging methods and safety precautions

UNIT – III : AC Fundamentals and Transformers

Duration: 12 Periods (L:9, T:3)

• Alternating current and voltage
• Terms: amplitude, frequency, time period, RMS value
• Single-phase and three-phase systems (advantages)
• Power factor – concept and importance
• Transformer: working principle
• Voltage ratio, current ratio and applications

UNIT – IV : AC Motors (Merged AC Machines – Simplified)

Duration: 13 Periods (L:10, T:3)

• Introduction to AC motors
• Three-phase induction motor:
– Construction
– Working principle
– Industrial applications
• Single-phase induction motor:
– Basic working principle
– Applications (fans, pumps, compressors)
• Introduction to motors used in Electric Vehicles
• Basic idea of braking and regenerative braking

UNIT – V : Electrical Wiring, Protection and Safety

Duration: 13 Periods (L:10, T:3)

• Types of wires and cables used in practice
• Standard wire gauge – purpose
• Types of wiring systems:
– Surface wiring
– Concealed wiring
• Switches, fuses and MCBs – functions
• Measuring instruments: voltmeter, ammeter, energy meter, multimeter
• Earthing – purpose and methods
• Electrical safety precautions
• Effects of electric shock and first aid

UNIT – VI : Basic Electronics

Duration: 12 Periods (L:9, T:3)

• Conductors, semiconductors and insulators
• P-type and N-type semiconductors
• PN junction diode – working and applications
• Introduction to transistors (NPN and PNP)
• Logic gates: AND, OR, NOT, NAND, NOR (truth tables)
• Integrated Circuits – types and applications

REFERENCE BOOKS (BASIC LEVEL)

• B.L. Theraja – Electrical Technology (Vol–I)
• V.K. Mehta – Basic Electrical Engineering
• Hughes – Electrical and Electronic Technology