BASIC ELECTRICAL ENGINEERING LAB

| Course Title: | BASIC ELECTRICAL ENGINEERING LAB | Course Code | EE- 319 |
| --- | --- | --- | --- |
| Semester | III Semester | Course Group | Core |
| Teaching Scheme in Periods (L:T:P) | 4:1:0 | Credits | 2.5 |
| Methodology | Lecture+Tutorials | Total Contact Periods | 75 |
| CIE | 60 Marks | SEE | 40 Marks |

PRE-REQUISITES

Basic knowledge of electrical quantities such as voltage, current and resistance.

COURSE OBJECTIVES (MECHANICAL ORIENTED)

This laboratory course is designed to provide hands-on exposure to basic electrical practices required by Mechanical Engineering students, focusing on safety, measurements, wiring and motor operation, without complexity.

COURSE OUTCOMES

On completion of the laboratory course, the student will be able to:

CO1: Follow electrical safety rules and demonstrate earthing practices.

CO2: Use basic electrical measuring instruments to measure voltage, current and energy.

CO3: Perform simple electrical wiring connections used in domestic and industrial applications.

CO4: Operate and control an induction motor using a starter.

LAB MODULES / EXPERIMENTS (REVISED & SIMPLIFIED)

MODULE – I : Electrical Safety and Earthing Practices

Duration: 12 Periods (L:4, P:8)

• Identification of electrical safety signs and symbols
• Identification of protective devices: Fuse, MCB, RCCB
• Identification of Personal Protective Equipment (PPE)
• Demonstration of first aid for electric shock
• Demonstration of pipe earthing
• Demonstration of plate earthing

MODULE – II : Electrical Measurements

Duration: 15 Periods (L:5, P:10)

• Measurement of voltage and current in single-phase AC circuit using voltmeter and ammeter
• Measurement of voltage and current using Digital Multimeter (DMM)
• Measurement of current using Tong Tester
• Connection of two lamps in series and measurement of voltage and current
• Connection of two lamps in parallel and measurement of voltage and current
• Connection of single-phase energy meter to a resistive load and measurement of energy

MODULE – III : Basic Electrical Wiring

Duration: 12 Periods (L:3, P:9)

• Identification of wiring tools and accessories
• Identification of wires and cables used in house wiring
• Connection to control one lamp using one-way switch
• Connection to control two lamps using two separate switches
• Staircase wiring (control of one lamp from two locations)

MODULE – IV : Induction Motor and Starter

Duration: 06 Periods (L:3, P:3)

• Identification of parts of a three-phase induction motor
• Identification of components of DOL starter
• Connection of DOL starter to three-phase induction motor
• Running the motor in forward direction
• Running the motor in reverse direction
• Safety precautions while operating motors

NOTE FOR PRACTICAL EXAMINATION

• Students are expected to follow proper safety procedures during experiments.
• Simple circuit diagrams shall be drawn wherever required.
• Observations and results must be recorded clearly.
• Emphasis is on skill, safety and correct procedure, not speed.

SUGGESTED STUDENT ACTIVITIES

• Identification of electrical equipment used in mechanical workshops
• Demonstration of safety devices in industrial environment
• Group discussions on motor applications in mechanical systems

REFERENCE BOOKS / MANUALS

• Electrical Engineering Lab Manual – SBTET
• V.K. Mehta – Basic Electrical Engineering
• Manufacturer manuals of motors and starters